| # Hinchingbrooke Pathology User Guide |  |
| --- | --- |
| Document Identification |  |
| DATE OF REVISION ISSUE | Please refer to Q pulse |
| REVIEW INTERVAL | 1 year |
| AUTHORISED BY | Please refer to Q pulse |
| AUTHOR | Harriet Madiyiko |
| COPY | 1 |
| DISTRIBUTION OF COPIES | 1. Q Pulse |

| Changes from previous revision |  |  |
| --- | --- | --- |
| Review date | Action Taken | Reviewed by |
| For previous revision details refer to Q Pulse |  |  |

CONTENTS

2	Scope	4

3	Purpose – Service Background	4

4	Terms And Definitions	5

5	Responsibility	5

6	related documents	5

7	Safety And Environmental Considerations (If Applicable)	5

8	procedure	5

8.1	Service information	5

8.2	Phlebotomy Services	9

8.3	Completion Of Pathology Request Forms and Labelling of Samples	10

8.4	Blood Sciences	14

8.5	Biochemistry	14

Laboratory Service	14

8.6	Haematology	23

Laboratory Service	23

8.7	Blood Transfusion	33

Procedure for blood collection	37

Blood Transfusion	39

8.8	Out-of-Hour Service	40

8.9	Common Patient Enquiries	40

8.10	Cellular pathology	40

8.11	Mortuary and Bereavement Services	41

8.12	Microbiology Service	43

Recommended Samples	45

Samples from the Urinary Tract	45

Ophthalmological Samples	46

8.13	Inter Site Transport Schedule	50

8.14	Telephone Directory	50

9	Escalation In Case of Failure (If Applicable)	51

10	Monitoring Compliance and Effectiveness	51

11	Equality And Diversity Statement	51

12	REFERENCES	51

13	Appendix (See Below)	52

Appendix B	52

Assay	52

Appendix C	55

Referral Laboratories used by Blood Sciences	55

Addresses of Referral Laboratories	63

# Scope

This User Guide has been produced to assist both hospital and community users of the pathology service at Hinchingbrooke Hospital.  It deals with access to the various pathology disciplines, specimen requirements, information and labelling requirements and reference ranges of the investigations available. If this User Guide fails to provide information required, users are encouraged to contact relevant key personnel listed.

# Purpose – Service Background

The Pathology Laboratory at Hinchingbrooke hospital is integral part of the Family and Integrated Support Services Division. It houses some of the most up to date testing equipment within the United Kingdom, receiving around 230k samples per year. Since August 1st 2017 the service is provided by North West Anglia NHS Trust with the laboratory at Hinchingbrooke a satellite of the hub laboratory at the Peterborough City Hospital (PCH).

Local haematology and biochemistry services at Hinchingbrooke have been integrated to form a single service now entitled “Blood Sciences”, which utilises multidisciplinary skills.  The Hinchingbrooke laboratory also provides an on-site transfusion service to Hinchingbrooke hospital.  This service is delivered from the Hinchingbrooke laboratory located on the ground floor at the rear of the hospital. Service is provided 24/7 for normal hours and out of hour’s provision please see details in Section 7.1 Service Information – Service Availability.

Hinchingbrooke Hospital also provides a body store and bereavement service.

The POCT service at Hinchingbrooke Hospital is managed by the NWANGLIAFT POCT team based at PCH.

The repertoire of testing offered at the Hinchingbrooke Blood Sciences laboratory is limited and additional testing is referred to Peterborough City Hospital for processing.  The pathology department at PCH is divided into a number of specialist departments:

- Biochemistry and Immunology

- Haematology/Transfusion

- Cellular Pathology (Non-gynae Cytology, Histopathology, Mortuary and Bereavement Services)

- Microbiology

- Point of Care (POCT)

For details of tests referred please see sections below. More updated changes to assays can be found on the website Hinchingbrooke Pathology | Pathology Services, as we work to improve the integration cross-site functionality.

GP Service Provision.

With the exception of occasional urgent tests and some anti-coagulant monitoring, all work from GP surgeries is currently processed at the Cambridge University Hospital NHS Foundation Trust (CHUFT) laboratory on the Cambridge Biomedical Campus. Sample collection runs call at Hinchingbrooke Pathology to deliver community blood transfusion antenatal work and collect work referred to CUHFT.

# Terms And Definitions

| Term | Definition |
| --- | --- |
| HH | Hinchingbrooke Hospital |
| FISS | Family & Integrated Support Services |
| CUHFT | Cambridge University Hospitals Foundation Trust |
| PCH | Peterborough City Hospital |
| NWAngliaFT | North West Anglia Foundation Trust |

# Responsibility

The Policy applies to all clinical staff obtaining pathology samples for onward despatch to the laboratory for processing. Clinical staff are defined as medical, nursing, laboratory or associated groups.

# related documents

| Item | Document Location |
| --- | --- |
| Blood Transfusion Policy / Procedures | See Intranet document library |
| Business Continuity Plan |  |
| Quality Manual |  |
| Major Incident |  |
| Venepuncture on Adult Patients Guideline and Assessment for Clinicians |  |

# Safety And Environmental Considerations (If Applicable)

Not applicable.

# procedure

## Service information

Key Personnel

The Pathology service is part of the Family and Integrated Support Services Division (FISS).  The key contacts are:

| Position | Contact details |
| --- | --- |
| General Manager | See intranet for details |
| Pathology Services Manager NWANGLIAFT | PCH 8440 PSM OFFICE HH x7477 |
| Consultant Haematologist | Bleep via switchboard |
| Clinical Lead | See intranet for details |
| Consultant Chemical Pathologist | Bleep via switchboard |
| Consultant Medical Microbiologist | Bleep via switchboard |
| Blood Sciences Manager | HH x6522 / PCH x8431 |
| Hinchingbrooke Lead Scientist | 01480 416522 / x6522 (HH) |
| Transfusion Manager | 01480 416265 / x6265 (HH) 01733 678463 / x8463 (PCH) |
| Transfusion Practitioners | PCH – ext 8422 / 8480 |
| Pathology Quality Manager | 01733 678441 PCH x8441 |

Raising a concern

A concern can be made by anyone who is affected by the actions of North West Anglia Pathology Services. It can also be made by someone acting on behalf of another person, with their consent.

It is important that you raise your concern as soon as possible after the event and usually within 12 months. This time limit can be extended if there are good reasons why the complaint could not be made sooner.

If you are in any way unhappy about the pathology service that you have received, the first step in many cases is to talk to the Pathology Quality Manager (01733) 678441.

Link to pathology Feedback form

To make a formal complaint

Where a patient or service user wishes to make a formal complaint, the complaint may be made verbally or in writing (including electronically). If the complainant wishes to make a verbal complaint a time will be arranged for a member of the complaints team to speak with the complainant taking a written statement of the concerns being raised.  See the Trust Complaints policy for details on how to contact the complaints team or print off a copy of Making a Formal Complaint from the Trust intranet page for additional information.

Where an employee has a work-related complaint, this should be raised in the first instance with their line manager. Most issues will be resolved by having an informal and constructive discussion. If the employee does not feel comfortable discussing the issue with their line manager, alternative routes of escalation include (but are not restricted to):

- Pathology Service Manager or Deputy Service Manager.

- Trust Freedom to Speak Up Guardian.

- Trust Human Resources Department.

- Trade Union Representatives.

The Trust procedure for a staff member wishing to make a formal complaint is covered in the Resolution Policy, accessible via the intranet.

The laboratory investigates all complaints received from patients, service users and staff. The full procedure for this is detailed in SOP GEN-QP-Complaints: Complaints and Feedback. This includes the protocols for acknowledging receipt, substantiating, investigating, and resolving the complaint; and providing the complainant with the outcome. It is the responsibility of departmental managers to ensure that actions taken to resolve a complaint are non-discriminatory, appropriate and proportional. Complaints are deemed to be sensitive information and full records of complaints are not therefore stored in Q-Pulse. Instead, details of complaints are stored in an access-restricted file on the A: drive of the trust server. Complaints are reviewed by Pathology managers at MGC meetings and through the Annual Management Review. Formal complaint responses are checked and approved by the Divisional Complaints Team to ensure impartiality.

Pathology Information Technology

The department is fully computerised, using the WinPath system provided by CliniSys Ltd.  Remote enquiry facilities for pathology results are available via clinical viewer at ward nursing stations and other key points throughout the Hinchingbrooke trust.

All results from samples processed at either PCH or CUHFT are viewable via clinical viewer.

Information Governance

The laboratory operates in accordance with NWANGLIAFT’s procedures for data security, storage, archive and retrieval of records, electronic passage to remote users and disposal of records.

Specimen Handling

Specimen handling and storage requirements are dependent upon specimen types and the tests required. For more information on storage requirements please contact the laboratory on 01480 416151.

Blood specimens that require electrolyte measurement (sodium, potassium, chloride) must never be refrigerated before centrifugation. All such specimens should be stored and transported to the laboratory at room temperature. Failure to do so will result in the invalidation of the above tests.

Histology specimens will be accepted 24/7 but should ideally be transported to the laboratory during routine working hours 9am -5pm as they must be checked and signed for. Delivery outside of routine hours may results in delays in being able to process the essential specimen checks.

Specimens intended for other Hospital Laboratories

If patient samples are intended for other labs e.g. antenatal samples for the Rosie or pre op transfusion samples taken for patients having surgery at PCH these should be clearly marked and in a separate bag so that they are easily identifiable from the bulk of routine samples.

Specimen transport within Hinchingbrooke

Specimens can be transported via the pneumatic pod system from within Hinchingbrooke. Samples should be placed in one of the plastic specimen bags provided, which can then be sealed and sent inside of one of the pods along with the corresponding request form to the pod station that is designated for that particular area of the hospital, which will be one of the following pod station numbers; 001 from main hospital chute system, Designation 1 from within the treatment centre.  Some specimens should not be transported via the pod system, these include:

- CSF samples

- Samples preserved on ice

- Samples that do not fit safely in the pod

- Urine samples and any microbiology or histology samples

- Covid swabs

For further information on or problems with the pneumatic pod system please contact the facilities department on extension 6566. In the event of the pod system being down, please contact the portering service on ext. 1197 to arrange specimen transport.

Samples from within Hinchingbrooke not transported via the pod system should be taken to the laboratory via the hospital porters, and should be carried in the boxes provided, in accordance with local model rules.

Specimen transportation from outside the Hinchingbrooke site

The department has contracts with GSG via Cambridge University Hospital NHS Foundation Trust (CUHFT) and GSG via Peterborough City Hospital to provide sample transport services.  All GP samples, Cellular Pathology, Non-Gynae Cytology and Microbiology and Blood Sciences samples are transferred to CUHFT or PCH by these services. However users should note that, under the EU Carriage Requirements for Diagnostic Specimens (ADR Regulations), the ‘consignor’ is considered responsible for complying with the Regulations.

The Regulations require samples to be packaged in accordance with Packing Instructions P650 which requires a triple layer of packaging to reduce the likelihood of sample leakage during transport. All samples for transportation must go via the Pathology Laboratory, so that it is sent in packaging compliant with P650 and UN3373 standards.

Transportation of transfusion samples for additional testing

Transfusion samples for further investigations are transported to NHS Blood and Transplant (NHSBT) reference laboratories in London or Bristol via their own transport, contracted couriers/taxi services or using SERV (volunteers) depending upon the level of urgency. All samples for transportation must go via the Pathology Laboratory.

Spillages of specimens during transportation

Specimens must be transported packaged as described above in order to reduce the risk of spillages. If a spillage is encountered during the specimen transportation procedure, please contact the laboratory via telephone on 01480 416151 (or out-of-hours contact the hospital switchboard on 01480 416416 and ask to speak to the Pathology department) for advice on the handling of the spillage. When contacting the laboratory, if possible, please provide information on the specimen types being transported, the extent of spillage and the transport medium if used.  Please note any formalin spillage is of a serious nature and must be escalated and dealt with immediately.  Specific spill kits are required – do not attempt to clean this up without laboratory involvement.  Spills within theatres should be handled in accordance to theatre policy.

Results Enquiries

Telephone enquiries regarding reports must be made initially via the laboratory sample reception for tests performed on site on Extension 6151.

For enquiries about tests performed at PCH, contact:

Biochemistry				204 8455 / 8458

Immunology				204 8454

Haematology				204 8453

Histology				204 8180 / 8182

Microbiology				204 8424

For all enquiries about tests performed at CUHFT contact the CUH Helpdesk on 0333 1032220 (option 1, then option2).

Hinchingbrooke Service Availability

The blood sciences department operates a 24/7 shift system.  A routine service is provided from 08:30 to 20:30, Monday to Friday.  At all other times access to the service is via the respective duty Biomedical Scientist (BMS) who may be contacted by bleep – Haematology/ Transfusion -1257; Biochemistry- 1239 if a phone call to the laboratory is unanswered.

## Phlebotomy Services

An inpatient phlebotomy service is provided between 08:00 and 12:00 each weekday at Hinchingbrooke, and between 07:00 and 11:00 on Saturday, Sunday and Bank Holidays mornings.  A corresponding outpatient service is provided from 09:00 – 17:00 on weekdays only.  This service is provided from the Treatment Centre (extension 8471).

Inpatient requests must be left in the correct day pocket of the wards phlebotomy folder by 07:30 weekday and 06:30 weekends/ bank holidays to be collected when the phlebotomists call.  Phlebotomists will visit each ward once daily. At weekends and Bank Holidays a limited service is provided (generally only two phlebotomists are on duty on these occasions) and it is expected that workloads will be restricted to essential investigations only.

Requests forms of patients that the Phlebotomists have been unable to bleed (e.g off ward, being seen by other staff, patient refusal) will be returned to the folder for the clinical teams to action later.

The Sarstedt Monovette blood collection system is in use throughout the Trust.

Please note:

Patients presenting with a request form for blood tests will be viewed as providing implied consent and the venepuncture procedure explained to ensure that patients fully understand and are comfortable with the process. Any patients requiring information regarding the tests requested, their function and clinical implications will be referred to the requesting clinician. The patient will be afforded the opportunity to defer venepuncture until the requisite information has been obtained. For referral samples implied consent is actioned that clinical information or family history may be shared with testing centre.

Sampling Supplies

Monovette and other pathology supplies are available from Pathology Reception; please return a Pathology Supplies Requisition List via the email address: hinch.pathologystores@nhs.net. All orders will be processed within 5 routine working days. A colour-coded guide to the Monovette system is included with this User Guide (See appendix E)

Phlebotomy training is provided to other NHS professionals.  For further information please contact the Phlebotomy team.

For a list of blood sample requirements please see the relevant discipline sections

## Completion Of Pathology Request Forms and Labelling of Samples

IMPORTANT Incorrect labelling of the sample will result in it being rejected and the patient having to be re-bled/ resampled

It is the responsibility of the requesting clinician and then the individual performing the venepuncture to ensure that request forms and samples are correctly and identically labelled.  It is essential that the risk of misreporting pathology results is minimised to ensure patient safety and to this end accurate identification of the patient from whom the specimen/ sample was obtained is of paramount importance.

It is expected that the requesting clinician has obtained consent for the diagnostic test from the patient using Good Clinical Practice as detailed in NHS Choices, Advanced Nursing Practice toolkit or equivalent best practice (see references).

The actual labelling of samples must take place immediately after (not before) the sample has been placed in the sample container and whilst next to the patient. With regards to inpatients, the information on the wrist band must match the information on the sample and the request form and, if possible, be confirmed verbally with the patient. With regards to Out-patient and GP originated samples, the name and Date of birth information must be confirmed verbally with the patient.

IMPORTANT All samples must be labelled in the presence of the patient.

Almost all our outsourced service providers require the NHS number as the unique identifier and this must be provided along with the unique hospital number for the patient. If it is not provided samples cannot be sent on for testing.

The laboratory will refuse to accept samples that do not comply with the labelling criteria outlined below.

Laboratory Criteria for the Acceptance of Pathology Requests/ Samples - General Information

All samples must arrive at the Pathology Department accompanied by a laboratory request form containing relevant information. Patient demographics on the sample and request form must be clearly annotated and identical. If samples have a discrepancy, in most cases a report will be issued with the error recorded. If the sample is urgent, the laboratory will attempt to contact the clinician directly by telephone.

| Request Form | Patient Sample |
| --- | --- |
| Surname | Surname |
| Forename(s) (initials not sufficient) | Forename(s) (initials not sufficient) |
| Date of Birth | Date of Birth |
| Hospital / Unique patient identifier NHS Number (must be included – unless an agreed exception) | Hospital/Unique patient identifier NHS Number (should be included) |
| Date and time bled | Date and time bled |
| Ward/ Location/ Consultant | Ward / Location |
| Clinical Details | Signature of person taking the blood |
| Required tests |  |
| Signature of requesting clinician |  |

For histology specimens the specimen type, including the part of the body obtained and any clinically relevant information, must also be included on the form.

Any microscope slides sent to the laboratory due to space restrictions will be deemed adequate if the frosted end is labelled with:

- Patients Surname

- Patients Forename

- Patients Date of Birth

The information must be recorded in pencil as ink is dissolved by the laboratory staining protocols in use.

Use of Addressograph Labels

Addressograph labels are not permitted for use on any samples – they must be handwritten. Samples bearing addressograph labels will be rejected. The only exception to this is the labelling of histology samples.

Where addressograph labels are used to provide information on request forms, the requester must ensure that all four copies of the request form have a separate label. It is also important to record the location, consultant and the time and date of the sample are written on the form, as this information is not included on the addressograph labels.

Actions regarding inadequate or mismatched information

Incorrectly labelled samples will not be accepted.  However, contact to the requesting source will be made on any samples that are deemed non-repeatable.

Health and Safety

- Leaking Samples - will be discarded (excluding histology samples). Urine samples must not be transported to the laboratory in the same bag as other samples, since leakage will result in contamination of the other samples and request forms.

- Specimen Containers - Samples will only be accepted in the approved specimen container. Syringes with needles attached will not be accepted.

- Contamination - Any request forms/ specimen containers/ transport bags contaminated with body fluids will be discarded.

- Marsupial bags are ideal to transport the request form separately to the sample (in the zip lock section) if a sample compartment is not attached to the request form.

Factors affecting laboratory tests

- It is necessary to mix samples containing anti-coagulant well after venesection as clots may be generated within the sample tube, leading to it not being able to be analysed on the haematology/ Transfusion equipment.

- It is essential that samples are sent to the laboratory as soon as possible after bleeding the patient. For example, samples left overnight on the ward before analysis will result in erroneous results for potassium, glucose and bilirubin levels, so these results will not be reported by the laboratory.

- CHAD and cryoglobulin samples must be kept at 37°C on bleeding, before receipt in the laboratory, as once the sample is outside of the body, drop in temperature will affect the quality of results. If samples are not kept at the correct temperature, they will not be accepted by the laboratory.

Additional Discipline Specific Information

Clinical advice

For Clinical advice see Pathology Website about our service.

Welcome to Peterborough Pathology Services | Pathology Services

Patient information

Additional patient information can be found at www.pch-pathlab.com

Biochemistry

For sample validity queries please contact the laboratory.

Requests for gentamicin or vancomycin analysis must give the

- date and time of the last dose,

- number of doses per day and

- date and time of the sample.

Requests will be rejected if information is missing, or if the sample is less than 22 hours post dose (or 10 hours if being dosed twice per day). If the sample is intended as a 1hr post-dose sample e.g. for Gentamicin in case of Infective Endocarditis, this must be clearly stated on the form.

Requests for sFlt-1/PlGF ratio (for the assessment of pre-eclampsia risk) must have the gestational age stated on the request form. Requests will normally only be accepted between 20 weeks and 34 weeks + 6 days.

Additional Testing for Biochemistry and Haematology

Samples for routine analysis are retained in the Blood Sciences laboratory for approximately 4 days (with the exception of 'glucose' samples, with a fluoride-EDTA anticoagulant, which are retained for a minimum of 2 days and coagulation samples which are retained for 24hours).  Any additional testing requirements must be accompanied with a request form (telephone requests are not acceptable) and will be accepted if within the recommended sample stability for the assays.

In some situations, laboratory personnel may request additional testing e.g. blood films, depending on the primary results to support initial findings.  It is assumed that there is consent for this from the original request received in the laboratory.

Blood Transfusion

See section 7.7

Histology

Multiple specimen pots must be easily distinguishable from each other and must be numbered in the same order as they appear on the request card. Failure to do so will result in the specimen being rejected and returned to the sender.

All specimens must be sent in formalin fixative (at least ten times the volume of the specimen) unless prior arrangements have been made with the Laboratory. Fresh specimens received without prior arrangements will be challenged.

Specimens from known TB patients must always be sent in formalin fixative unless prior arrangements and notification are made with the laboratory

Specimens that have leaked into the specimen bag will be rejected and returned to requestor for remedial action. Always make sure the specimen container lid is firmly fixed before dispatch to the laboratory.

Non-Gynae Cytology

Delays in transportation of specimens to the laboratory must be avoided.  An unlabelled smear in a labelled smear carrier is unacceptable.

Unlabelled cervical smears will be discarded (as per National recommendation), and the request form returned to the smear taker, with an attached request for a repeat smear.

Unlabelled non-gynae specimens will be returned with the request form to the clinician requesting the test, or the clinician will be given the opportunity to visit the laboratory and identify the specimen him/ herself.

Laboratory staff will not intervene in the labelling and identification process.

Microbiology

The site and nature of sample must be recorded on the request form to allow appropriate processing.  Additional information must include: antibiotics (current, post, or intended) and clinical diagnosis.

Invasive/ unrepeatable and timed specimens may be processed regardless of the amount of information given, but results will be issued with a disclaimer to the effect that the laboratory will take no responsibility for the accuracy of the specimen details. In the event that the location of the sender is not provided, the report will remain on the laboratory computer system until it is identified.

Leaking samples will be risk assessed according to the amount of spillage, the infection risk, and the repeatability of the specimen. Senders will always be notified if a specimen has to be discarded.

In addition:

- Any incidents arising from non-compliance with these guidelines will be reported through the NWAngliaFT Critical Clinical Incident reporting system –DATIX.

- If users would like to give the laboratory feedback, please contact the Blood Sciences or Transfusion Managers or Pathology Quality Manager.

## Blood Sciences

This service has been formed by the integration of the Biochemistry, Haematology and Blood Transfusion disciplines at Hinchingbrooke.  A combined Haematology/ Biochemistry/ Immunology / Microbiology request form is available to users. Transfusion Forms remain separate.

Results are available remotely throughout the hospital using the clinical viewer.  For training please contact the Trust IT Department.

The service is a clinical service and is not intended for medico-legal use.  This applies particularly to measurements of ethanol and drugs of abuse.

The repertoires of the sub-disciplines are as follows.

## Biochemistry

#### Laboratory Service

Clinical Biochemistry is part of the Blood Sciences service. It provides a routine and emergency service to Hinchingbrooke Hospital.

Enquiries

Biochemistry – ext. 6267

Reporting

Results will be available for all General chemistry* tests within 4 hours of receipt in the laboratory, with the exception of some endocrine and haematinics tests which are not run overnight.

Referred tests to PCH/ CUHFT		within 2-7 days

Referred tests to other laboratories	within 7-14 days

* For urgent requests please notify the laboratory on ext. 6267 (out of hours bleep 1239) and mark the request form ‘URGENT’. An ‘Urgent’ sample turnaround of 1 hour is provided for general chemistry tests and Troponin to Accident and Emergency and other departments.

Special Requests

Special requests must be referred to the laboratory before collection.

| Gut hormones | Cryoglobulins |  |
| --- | --- | --- |
| Calcitonin | Ammonia | Porphyrin |

For CSF Xanthochromia the sample must be protected from light. The form must state the time between onset of headache and the time of sampling. If not already received within 24 hours of the CSF, a serum sample is required for matched serum total protein and bilirubin. This is a send away test and must be transported to the Hinchingbrooke laboratory before 11:00am for same day analysis. CSF spectrophotometry is only performed once daily, Monday to Friday, so samples must be at the referral laboratory by 14:00 hours.

Biochemistry Analyses, Reference Ranges and Specimen Types

See individual tests performed at HH in the table, below – Tests processed at PCH can be found on the website under test repertoire(Welcome to Peterborough Pathology Services | Pathology Services). For most blood tests, serum (from clotted blood) is needed. Please send full sample tubes (4.7ml adult / 1.1ml paediatric) but if this is not possible, please discuss minimum sample requirements (ext. 6267). Glucose FE-Fluoride EDTA (Yellow top) 4.9ml / 1.1ml, Lithium Hep (Orange top 4.9ml / 1.1ml) where used should also be full volumes where possible

Specimens are routinely retained for one week but may be stored for longer if requested.  Extra investigations may be requested in writing during this time if analyte stability allows.

Reference ranges given are adult ranges, unless otherwise specified.  Different ranges may apply, depending on age, sex, nutritional state, time of day and season.  Always consult the reference range provided with the report since methods are constantly updated.

| ## 7.5.1 Analytical Profiles, Reference Ranges and Specimen Types These are for tests performed on site at the Hinchingbrooke Laboratory. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### Test |  |  | ## Reference Range |  | ## Specimen Type |
| #### U + E profile Sodium Potassium Chloride Urea* Creatinine | (Adult) (Neonate) (Infant) (1-16yr) (Adult) (Neonate) (Infant) (1-6yr) (Male) (Female) |  | 133 – 146 mmol/L 3.5 - 5.3 mmol/L 3.4 – 6 mmol/L 3.5 – 5.7 mmol/L 3.5 – 5.0 mmol/L 95 – 108 mmol/L 2.5 – 7.8 mmol/L 0.8 – 5.5 mmol/L 1 – 5.5 mmol/L 2.5 – 6.5 mmol/L 59 – 104 µmol/L 45 – 84 µmol/L |  | ## Serum gel tube (brown top) |
| *Urea is no longer part of the routine “U+E” profile. This test is available upon request |  |  | ## Changes in creatinine are used to assess acute kidney injury (AKI) risk. An AKI staging is reported based on national guidelines. |  |  |
| eGFR (calculated by CKD-EPI equation) Requires gender, date of birth and a serum creatinine result for calculation. |  |  | ## Stage ## 1 ## 2 ## 3 ## 4 ## 5 | ## mL/min/1.73m2 >90 60 – 89 30 – 59 15 – 29 <15 |  |
| #### Cardiac Markers Total Creatine Kinase (CK) Troponin T |  | (male) (female) | 40 – 320 iU/L 25 - 200 iU/L See report for interpretation. Interpretative guidance of initial values can be found in the Trust Document Library under Pathology Guidelines. |  | ## Serum gel tube (brown top) |

| ##### Bone profile Adjusted calcium (adult) (neonate) (1 – 16yr) Phosphate * Albumin (adult) (neonate – infant) (1 – 16yr) alkaline phosphatase* (adult) (neonate) (1 – 16yr) |  |  | 2.20 - 2.60 mmol/L 2.00 – 2.70 mmol/L 2.20 – 2.70 mmol/L 0.80 - 1.50 mmol/L 35 - 50 g/L 30 – 45 g/L 30 – 50 g/L 30 - 130 iU/L 70 – 380 iU/L 60 – 425 iU/L | ## Serum gel tube (brown top) |
| --- | --- | --- | --- | --- |
| ##### LFT profile Total protein* Albumin Total globulin* | (Adult) (Neonate-infant) (1-16yr) |  | 60 - 80 g/L 35 - 50 g/L 30 – 45 g/L 30 – 50 g/L 24 – 35 g/L | ## Serum gel tube (brown top) |
| *Total protein and total globulin are no longer part of the routine “LFT” profile. These tests are available upon request |  |  |  |  |
| Total Bilirubin Direct Bilirubin ALT alkaline phosphatase~ |  | ##### (14d – Adult) (male) (female) (Adult) (Neonate) (infant- 16yr) | 0 - 21 µmol/L 0 – 6.8 µmol/L ## 5 – 41 U/L 5 – 33 U/L 30 - 130 IU/L 70 - 380 IU/L 60 – 425 IU/L |  |
| ##### ~Upper reference limit markedly increased in pregnancy and growth associated with infancy and puberty. |  |  |  |  |
| ##### Lipid profile (fasting) total cholesterol triglyceride HDL LDL |  |  | Please see NICE guidance on Lipid modification or Familial Hypercholesterolaemia | ## Serum gel tube (brown top) |
| Blood gases Co-oximetry, Lactate and Bicarbonate. These are only available on ward-based analysers. No blood gas analysis is conducted in Pathology. |  |  |  | ##### Use Li Hep syringe, well mixed. |

| ##### Iron profile serum iron^ UIBC TIBC Iron Saturation Ferritin^ CRP |  | (adult male) (adult female) | 5.83 – 34.5 µmol/L 22.3-61.7 µmol/L µmol/L % 30 – 400 µg/L 13 - 150 µg/L <5 mg/L | ## Serum ##### gel tube (brown top) ##### Minimum retesting interval – 28 days |
| --- | --- | --- | --- | --- |
| ##### ^Ferritin is elevated and serum iron and transferrin depressed by acute inflammation, as indicated by a raised CRP. Under this circumstance, the determination of iron overload and especially iron deficiency by means of these measurements may be unreliable. |  |  |  |  |
| Individual Blood Tests ##### The list below covers tests done on the HH site, there are numerous additional assays available e.g. static and dynamic endocrine function tests, drug monitoring and toxicology. Please contact the laboratory to discuss referrals and protocols. |  |  |  |  |
| ##### Ammonia | ##### (Infant - Adults) ##### (neonates) (Sick or Prem.) |  | ##### 0 - 50 mol/L 0 - 100 mol/L 0 – 150 mol/L | ##### EDTA blood in a small screw top tube(1.1ml)full, with air excluded. Sent on ice |
| ##### Amylase |  |  | ##### 28 – 100 U/L | ## Serum ##### gel tube (brown top) |
| ##### Beta-HCG (serum) |  |  | ##### Gestation related < 4.0 U/L non-pregnant | ## Serum ##### gel tube (brown top) |
| ##### Carboxyhaemoglobin (Available on ward-based blood gas analysers. No blood gas analysis is conducted in Pathology.) |  |  | ##### unexposed, resting non-smokers 0.5 – 1.5 % | Use Li Hep Blood Gas syringe, well mixed, no air space. |
| ##### C-reactive protein (CRP) |  |  | ##### 0 - 5 mg/L | ## Serum ##### gel tube (brown top) |
| ##### Direct bilirubin |  |  | ##### 0 – 6.8 µmol/L |  |
| ##### Digoxin |  |  | ##### 0.5 - 2.0 µg/L ##### At least 6 hours from last dose |  |
| ##### Alcohol / Ethanol ##### Not for legal use |  |  | ##### No range quoted Results reported in mg/dL | ## Serum ##### gel tube (brown top) |
| Gamma-glutamyl transferase (GGT) (male) (female) |  |  | <60 U/L <40 U/L | ## Serum gel tube (brown top) |
| Glucose (fasting) |  |  | 4.1 – 5.9 mmol/L | ## Fluoride EDTA (yellow top) or, if received within 2 hours, serum gel tube (brown top) |
| Glucose tolerance test -for the diagnosis of Diabetes |  |  | If being done as an outpatient, please arrange appointment - contact Phlebotomy, ext. 8471 The following table summarises the 2016 WHO recommendation for the diagnostic criteria for diabetes and intermediate hyperglycaemia Diabetes Fasting plasma glucose 7.0 mmol/L Random or 2-h plasma glucose* 11.1mmol/L Impaired Glucose Tolerance (IGT) Fasting plasma glucose <7.0mmol/L and 2-h plasma glucose* 7.8 and <11.1mmol/L Impaired Fasting Glucose (IFG) Fasting plasma glucose 6.1 to 6.9mmol/L and 2-h plasma glucose (if measured) <7.8mmol/L *Venous plasma glucose 2-h after ingestion of 75g oral glucose load. *If 2-h plasma glucose is not measured, status is uncertain as diabetes or IGT cannot be excluded | ## Fluoride EDTA (yellow top) |
| ## Please state on the request form whether the GTT is a “2 point” one, with sampling at 0 and 120 minutes only (for diagnosis of diabetes), or a “full” one with half hourly samples. |  |  |  |  |

| HbA1c (Tested at PCH) |  | Non-diabetic reference range: 20 - 42 mmol/mol Also see NICE guidelines for advice on targets in patients with diabetes. | K EDTA (red top) or finger-prick capillary sample in haemolysate (grey top) Minimum retesting interval - 7 days |
| --- | --- | --- | --- |
| Magnesium | ##### (Adults) (Neonate) | 0.7 - 1.0 mmol/L 0.6 – 1.0 mmol/L | ## Serum gel tube (brown top) |
| Osmolality (serum) |  | 275 - 295 mmol/kg |  |
| Paracetamol |  | Avoid taking blood < 4 hrs after Ingestion – limited value. See normogram in BNF |  |
| Salicylate |  | See BNF for advice on poisoning |  |
| Uric acid (male) (female) |  | 200 - 430 µmol/L 140 - 360 µmol/L |  |
| Thyroid Function Tests TSH (7 – adult) (Neonate) (1 – 6yr) (Pregnant – 3rd trim) Free T4 (Pregnant - 2nd trim) (Pregnant – 3rd trim) Free T3 (adult) (Neonate) (1 – 20yr) (Pregnant – 3rd trim) |  | 0.3 – 4.2 mU/L 0.7 – 11.0 mU/L 0.7 – 6.0 mU/L 0.2 – 3.2 mU/L 12 – 22 pmol/L 9.6 – 17 pmol/L 8.4 – 15.6 pmol/L 3.1 – 6.8 pmol/L 3.0 – 9.3 pmol/L 3.9 – 8.0 pmol/L 3.1 – 5.0 pmol/L | Serum gel tube (brown top) Minimum retesting interval - 28 days |
| B12 Folate |  | 197 – 771 ng/L >3.0 ug/L | Serum gel tube (brown top) Minimum retesting interval – Folate 28 days B12 – 60 days |

Urine Analytical Profiles Containers are supplied by laboratory. Telephone ext. 6267. Use of the correct preservative may be critical (see information below Check if unclear.

| ##### U + E profile Urine sodium Urine potassium Urine urea ##### Urine creatinine | (male) (female) | 40 – 220 25 – 125 428 – 714 9 – 19 6 - 13 | mmol/24hr mmol/24hr mmol/24hr mmol/24hr mmol/24hr | 24hr (no preservative) |
| --- | --- | --- | --- | --- |
| ##### Calcium & phosphate profile |  |  |  |  |
| ##### Urine Calcium Urine Phosphate | (Adult) | 2.5 - 7.5 mmol/24hr 15 - 50 mmol/24hr |  | 24hr collection in Hydrochloric acid |
| Creatinine clearance |  | Female ≤ 40yrs 90 – 130 ml/min 41 – 50yrs 84 – 124 ml/min 51 – 60yrs 77 – 117 ml/min ≥61 yrs 64 – 104 ml/min Male ≤ 40yrs 100 – 140 ml/min 41 – 50yrs 94 – 134 ml/min 51 – 60yrs 87 – 127 ml/min ≥61 yrs 74 – 114 ml/min |  | 24hr in plain bottle + serum gel tube (brown top) |
| Calculated creatinine clearance (Cockroft Gault) Also see eGFR above |  | Female ≤ 30yrs 65 – 145 ml/min 31 - 40yrs 55 – 135 ml/min 41 – 50yrs 55 – 125 ml/min 51 – 60yrs 45 – 115 ml/min 61 - 70yrs 40 – 95 ml/min ≥71yrs 30 – 70 ml/min Male ≤ 30yrs 80 – 155 ml/min 31 - 40yrs 70 – 150 ml/min 41 – 50yrs 65 – 130 ml/min 51 – 60yrs 55 – 120 ml/min 61 - 70yrs 40 – 100 ml/min ≥71yrs 30 – 75 ml/min |  | Requires serum gel sample for creatinine plus patient’s gender and body weight for calculation |
| Urine Drugs of abuse screen (This is a Qualitative Screening Test for the presence of Amphetamines, Barbiturates, Benzodiazepines, Cocaine, TetraHydroCananabinol, Methadone, MDMA, Morphine, Tricyclic Antidepressants and Metamphetamine). |  | Where the purpose of the test is related to employment, child-custody, medico-legal or forensic issues, this service is unsuitable. In particular there will be no ‘chain of custody’ as would be requires to use a result as evidence. |  | Random urine |

| Urine Osmolality | 50 - 1200 mmol/kg related to intake & homeostasis |  |  | random, plain |
| --- | --- | --- | --- | --- |
| Urine Urate | 1200 – 5900 µmol/24 hours - 4.5 mmol/24hr |  |  | 24hr collection, plain |
| Urine potassium | 25 – 125 mmol/24h |  |  | Spot, plain universal |
| Urine sodium | 40 – 220 mmol/24h |  |  | Spot , plain universal |
| ##### Tests on CSF |  |  |  |  |
| CSF glucose (Adults) (Children) | 2.2 - 3.9 mmol/L 3.3 - 4.44 mmol/L - 5.5 mmol/L and >60% of simultaneous fluoride plasma glucose |  |  | Fluoride EDTA (yellow top) |
| CSF protein | 0-2 weeks 2-4 weeks >4 weeks |  | 0.15 – 0.90 g/L 0.15 – 0.70 g/L 0.15 - 0.40 g/L | Plain universal |
| #### Tests on “Fluids” e.g. peritoneal fluid, pleural fluid #### It may be useful to discuss the appropriate tests required with the lab, e.g. If your question is “is this urine?” the lab will be able to recommend the correct test to request |  |  |  |  |
| Fluid Total protein |  | >35g/L exudate < 25g/L transudate |  | Plain |
| Fluid Glucose |  | Clinical team to interpret result dependant on fluid type and clinical presentation of patient. |  | Fluoride EDTA (yellow top) |

Action limits, outside of which results will be telephoned to the appropriate clinician, is included in Appendix B

## Haematology

#### Laboratory Service

Haematology is part of the Blood Sciences service. It provides a routine and urgent service to Hinchingbrooke Hospital.

For sample validity queries please contact the laboratory.

Enquiries

Contact ext 3545

Reporting

Results will be available on the clinical viewer for all specimens tested on-site within 4 hours, except for glandular fever, which may be batched and performed daily. * For urgent requests please notify the laboratory on ext. 3545 (out of hours bleep 1257) and mark the request form ‘URGENT’. An ‘Urgent’ sample turnaround of 1 hour is provided for FBC and D-Dimer requests to Accident and Emergency and other departments.

Results will be telephoned if the results indicate immediate clinical intervention in line with RCPath guidelines – The communication of critical and unexpected pathology results (October 2017).

Anaemia – Raised MCV ( >100)

Vitamin B12/foalte deficiency

Abnormal liver function

Red cell output

Haemolytic anaemia      Reticulocytes

Hypothyroidism

Drugs

Bone marrow disorders

Analytical Profiles, Reference Ranges and Specimen Types

Please see individual tests in the table below (section 7.6.1)for sample requirements.  When using ICE requesting it is important to check the specific test information for any additional requirements to the test e.g. specific specimen type or additional information which is required to perform the test.

Specific Information regarding indications for Coagulation Screens

Coagulation tests are not a screening tool; use them only for:

- Investigation of unexplained bleeding

- Monitoring of anticoagulant therapy

- Suspected disseminated intravascular coagulation (DIC)

- Test of liver function where it is likely to be severely impaired (e.g. Paracetamol overdose or suspected liver failure)

- Before major surgical procedures

Specific information regarding Indications for D-Dimers

D-dimer requests are accepted in the following circumstances:

- Any patient with ?DIC

- Patients with suspected DVT

- Patients with suspected PE

- Patients with suspected clot post VTE

- Patients with chest pain with or without shortness of breath

- Any patient with sepsis or ?sepsis

- Any patient with known or suspected COVID-19 infection

- Any patients with suspected VITT within 28 days of Astra Zeneca COVID-19 vaccination

Note: Any D-Dimer request for suspected PE/DVT should have a Wells score assessed, which should be provided as part of the clinical information sent to the laboratory.

Requests made directly to the consultant haematologist:

- Requests for bone marrow aspiration

- Specialist platelet and coagulation investigations

    - General Haematology – Reference ranges

| Assay | Full Blood Count (FBC) |
| --- | --- |
| Key Words | Full Blood Count, FBC |
| Specimen Collection | 2.6ml EDTA for adults, and where possible, for children >10 years old (Red lid); 1.2ml EDTA for paediatric patients <10 years old (Red lid), do not overfill. If a Kleihauer is also requested, an additional sample bottle is required. These two tests cannot be run from the same EDTA sample. |
| Turnaround Time | 1hr for urgent requests, 4 hours for acute testing and next working day for all other requests |
| Test Indications | Investigations of red cells, white cells and platelets |
| Interferences | Lipaemia causes falsely elevated haemoglobin which also affects MCV and MCHC - If the lipaemia is identified during analysis due to these indices being significantly abnormal, then laboratory staff will perform a hyperlipidaemia correction to return the Hb, MCV and MCHC to their true values. Hyperbilirubinaemia does not affect the haemoglobin value but may affect other FBC values. Clots or fibrin strands in samples, platelet aggregates, and/or haemolysis can irreparably damage cellular content in the sample and render most FBC parameters invalid - Samples will be either processed with a disclaimer, processed with the most affected FBC values removed, or rejected entirely depending on the severity of the sample degradation. Samples identified by the laboratory as containing cryoglobulins will be warmed prior to analysis to minimise red cell clumping and the subsequent effect on the FBC results. |
| Reference Range | See table below |
| Minimum retesting interval | N/A |

| TEST | AGE/GENDER | RANGE | UNITS |
| --- | --- | --- | --- |
| Haemoglobin (Hb) | Up to 1 day | 150 – 236 | g/L |
|  | 1-14 days | 128 – 218 |  |
|  | 14 days – 4 weeks | 101 – 183 |  |
|  | 4-36 weeks | 100 - 140 |  |
|  | 36weeks – 1year | 113 – 141 |  |
|  | 1 – 12 years | 110 – 151 |  |
|  | Males over 12 years | 130 - 180 |  |
|  | Females over 12 years | 115 - 165 |  |
|  | Pregnant | 100 - 150 |  |
| Red Blood Cell Count (RBC) | Up to 1 day | 3.77 – 6.51 | 1012/L |
|  | 1-14 days | 3.0 – 5.2 |  |
|  | 14 days – 4 weeks | 2.8 -5.2 |  |
|  | 4 weeks – 1 year | 3.3-5.5 |  |
|  | 1 – 12 years | 3.5-5.5 |  |
|  | Males over 12 years | 4.4-6.5 |  |
|  | Females over 12 years | 3.8-5.8 |  |
|  | Pregnant | 3.5-5.0 |  |
| Haematocrit (HCT) | Up to 1 day | 0.45-0.67 | Ratio |
|  | 1 day – 4 weeks | 0.31-0.55 |  |
|  | 4 weeks – 1 year | 0.33-0.39 |  |
|  | 1 – 12 years | 0.33-0.43 |  |
|  | Males over 12 years | 0.4-0.53 |  |
|  | Females over 12 years | 0.36-0.46 |  |
|  | Pregnant | 0.32-0.46 |  |
| Mean Cell Volume (MCV) | Up to 1 day | 101-137 | fL |
|  | 1 day – 14 days | 85-140 |  |
|  | 14 days – 4 weeks | 90-120 |  |
|  | 4 weeks – 1 year | 70-90 |  |
|  | 1 – 12 years | 73-90 |  |
|  | Over 12 years | 80-100 |  |
| Mean Cell Haemoglobin concentration (MCHC) | ALL | 318-364 | g/L |
| Red Cell Distribution Width (RDW) | Up to 14 days | 11 – 17 | % |
|  | Over 14 days | 11.5 – 15.0 |  |
| Platelet Count (PLT) | ALL | 150 - 400 | 109/L |
| Mean Platelet Volume (MPV) | ALL | 9 – 12.1 | fL |
| White Blood Cell Count (WBC) | Up to 1 day | 9.4 – 34 | 109/L |
|  | 1 day – 4 weeks | 5 – 19.5 |  |
|  | 4 weeks – 1 year | 6-17.5 |  |
|  | 1 – 12 years | 4.5-13.5 |  |
|  | Over 12 years | 4-11 |  |
|  | Pregnant | 4-15 |  |
| Neutrophil Count | Up to 1 day | 1.7-19 | 109/L |
|  | 1 day – 4 weeks | 1.5-10 |  |
|  | 4 weeks – 1 year | 1-9 |  |
|  | 1 – 12 years | 1.5-8.5 |  |
|  | Over 12 years | 1.8-7.7 |  |
| Lymphocyte Count | Up to 1 day | 1.5-11.5 | 109/L |
|  | 1 day – 4 weeks | 1.5-16 |  |
|  | 4 weeks – 1 year | 2-11.5 |  |
|  | 1 – 12 years | 1.5-5 |  |
|  | Over 12 years | 1.4-4.8 |  |
| Monocyte Count | Up to 1 day | 0.1-3.7 | 109/L |
|  | 1 day – 4 weeks | 0.1-2 |  |
|  | 4 weeks – 1 year | 0.1-1 |  |
|  | Over 1 year | 0.1-0.8 |  |
| Eosinophil Count | Up to 1 day | 0-2 | 109/L |
|  | 1 day – 4 weeks | 0-1 |  |
|  | Over 4 weeks | 0.1-0.6 |  |
| Basophil Count | ALL | <0.1 | 109/L |

| Assay | Erythrocyte Sedimentation Rate (ESR) |  |
| --- | --- | --- |
| Key Words | Erythrocyte Sedimentation Rate (ESR) |  |
| Specimen Collection | 3.5ml sedivette monovette only (Purple lid) for all patients. |  |
| Turnaround Time | 2hr for ? Temporal Arteritis, Next working day for all other tests |  |
| Test Indications | Polymyalgia Rheumatica, chronic inflammation, vasculitis, temporal arteritis, myeloma, acute phase reactions, acute infection. |  |
| Interferences | Hyperalbuminaemia, haemolysis, clot in sample. |  |
| Reference Range |  |  |
| ESR (Westergren, mm in 1 h) | Men ≤50 years | 1 – 10 mm |
|  | Men >50years | 2-14 mm |
|  | Women ≤50 years | 3-12 mm |
|  | Women >50 years | 5-20 mm |
| Minimum retesting interval | N/A |  |

| Assay | Malaria including referral and RDT |
| --- | --- |
| Key Words | Malaria, Plasmodium, Falciparum, Vivax, Ovale, Malariae, Knowlesi, Trypanosomes, Babesia, Microfilaria |
| Specimen Collection | 2.6.ml EDTA (Red lid). 1.2ml EDTA for paediatric (Red lid). Carried out on the Full Blood Count specimen. |
| Turnaround Time | 4 hours, extended turnaround on species confirmation. If positive this test is referred to another centre for analysis: PHE Malaria Reference Laboratory Faculty of Infectious and Tropical Diseases London School of Hygiene and Tropical Medicine Keppel Street London WC1E 7HT |
| Test Indications | Suspected malarial infection based on travel history. Please ensure details on travel is placed on the request. |
| Interferences | Malaria RDT test can only detect live malarial parasites, and may not be able to detect certain subtypes of Plasmodium ovale or Plasmodium knowlesi; therefore a negative result does not conclusively rule out malarial infection. It can differentiate between Plasmodium falciparum/mixed infections and non-falciparum infections, but cannot speciate further. Please refer to the full malaria screen for confirmation. |
| Reference Range | N/A |
| Minimum retesting interval | N/A |

| Assay | Glandular Fever |
| --- | --- |
| Key Words | Paul Bunnell, Monospot, Glandular Fever, GF, Epstein Barr Virus, EBV, Heterophile antibody, infectious mononucleosis |
| Specimen Collection | 2.6ml EDTA (Red lid). 1.2ml EDTA for paediatric (Red lid), do not overfill. Carried out on the Full Blood Count specimen. |
| Turnaround Time | Next working day |
| Test Indications | Lymphadenopathy, atypical lymphocytosis. |
| Interferences | A negative Glandular Fever screen does not conclusively rule out infectious mononucleosis. |
| Reference Range | N/A |
| Minimum retesting interval | N/A |

| Assay | Sickle Solubility Test |
| --- | --- |
| Key Words | Haemoglobinopathy, Sickle Cell Anaemia, Thalassaemia |
| Specimen Collection | 2.6ml EDTA (Red lid). 1.2ml EDTA for paediatric (Red lid). Carried out on FBC specimen. Test can be added on to requests for the duration of storage of routine FBC samples (i.e. up to 3 days from receipt). See below for information on completion of request forms. |
| Turnaround Time | 1 hour if going to theatre |
| Test Indications | This test is only performed if the patient is pre-op and going to theatre that day. If the patient has never been previously tested a full haemoglobinopathy screen would be sent to PCH. |
| Interferences | Haemolysis, clotted samples, anaemia, recent blood transfusion or history of bone marrow transplant. |
| Reference Range | N/A |
| Minimum retesting interval | N/A |

| Assay | Coagulation Screen |
| --- | --- |
| Key Words | Coagulation Screen, APTT, PT, Fibrinogen |
| Specimen Collection | 3ml Citrate (Green lid). 1.4ml Citrate for paediatric (Green lid). Fill to mark. |
| Turnaround Time | 4 hours |
| Test Indications | Investigation of bleeding tendency, Disseminated Intravascular Coagulation, Hereditary or acquired fibrinogen abnormality (qualitative and quantitative). |
| Interferences | Lipaemia, haemolysis, anticoagulants, antiphospholipid syndrome. Samples will be processed up to 24 hours from the time of collection. However, samples older than 8 hours at processing may begin showing interferences due to sample degradation and should be interpreted with caution. Ideal time of bleed to examination – 4hrs. The antibiotic oritavancin has been shown to react with certain coagulation reagents; it may artificially prolong the APTT for approximately 120 hours (5 days) post-dosage and the PT INR for approximately 12 hours post-dosage. |
| Reference Range | See table below. Please note that while ratios for INR and APTT will remain the same, the time in seconds for PT and APTT may change slightly when new reagent lots are started. If interpreting these results in seconds, please refer to the reference ranges printed on the report at the time of authorisation for the correct reference range. |
| Minimum retesting interval | N/A |

| Test | Age / Sex | Range | Units |
| --- | --- | --- | --- |
| Prothrombin Time (PT) | n/a | 9-15 | Seconds |
| INR | n/a | 0.8-1.2 | Ratio |
| Activated Partial Thromboplastin Time (APTT) | n/a | 20-31.9 | Seconds |
| APR | n/a | 0.8-1.2 | Ratio |
| Fibrinogen (FIB) | n/a | 1.7-9 | g/dL |

Note: Neonatal reference ranges are not available please interpret results alongside clinical presentation.

| Assay | D Dimer |
| --- | --- |
| Key Words | Deep Vein Thrombosis, DVT, Pulmonary Embolism, PE, Disseminated Intravascular Coagulation, DIC |
| Specimen Collection | 3ml Citrate (Green lid). 1.4ml Citrate for paediatric (Green lid). Fill to mark. |
| Turnaround Time | 1hr for urgent requests, 4 hours for acute work, next working day for all other requests |
| Test Indications | Suspicion of Deep Vein Thrombosis, Pulmonary Embolism or Vaccine Induced Thrombosis and Thrombocytopenia (VITT). Investigation of Disseminated Intravascular Coagulation, Sepsis or COVID-19 infection. |
| Interferences | Pregnancy, lipaemia, haemolysis, infection and inflammation, Age. |
| Reference Range | There is no reference range or D-Dimers. D-dimer result <250ng/mL make the diagnosis of a recent DVT or PE very unlikely, except with a moderate to high clinical probability score. NICE Guidance NG158 (26/03/2020) recommends using and age-adjusted threshold for patients >50 years. The threshold is: Age x 5 ng/mL |
| Minimum retesting interval | N/A |

| Assay | Thrombin Time |
| --- | --- |
| Key Words | Coagulation Screen, APTT, PT, TT, Fibrinogen |
| Specimen Collection | 3 ml Citrate (Green lid). 1.4ml Citrate for paediatric (Green lid). Fill to mark. |
| Turnaround Time | 4 hours |
| Test Indications | Hereditary or acquired fibrinogen abnormality (qualitative and quantitative). |
| Interferences | Lipaemia, haemolysis, anticoagulants, antiphospholipid syndrome. Samples will be processed up to 24 hours from the time of collection. However, samples older than 8 hours at processing may begin showing interferences due to sample degradation and should be interpreted with caution. The antibiotic oritavancin has been shown to react with certain coagulation reagents; it may artificially prolong the APTT for approximately 120 hours (5 days) post-dosage and the PT INR for approximately 12 hours post-dosage. IV Heparin can cause a prolonged TT. |
| Reference Range | 15 -22 secs |
| Minimum retesting interval | N/A |

| Assay | Anti Xa |
| --- | --- |
| Key Words | Clexane, Enoxoparin, Tinzaparin, Dalteparin |
| Specimen Collection | 3ml Citrate (Green lid). 1.4ml Citrate for paediatric (Green lid). Fill to mark. Samples must be taken 4 hours post dose (adult) or 1 ½ -2 hours post dose (children <10 years) and arrive in the laboratory within 3 hours of collection. |
| Turnaround Time | Next working day |
| Test Indications | Monitoring during pregnancy as advised by coagulation nurse specialist or haematology consultant, patient with renal failure as approved by haematology consultant. |
| Interferences | Anti Xa levels change markedly over time owing to the pharmacokinetics of the drug (e.g. levels of rivaroxaban will differ greatly 2–4 hours versus 24 hours after dosing). Interpret results with caution. Discuss with Consultant Haematologist if necessary. |
| Reference Range | Reported in ng/ml. No reference range available. Discuss with Consultant Haematologist if necessary. |
| Minimum retesting interval | N/A |

| Assay | Factor VIII – Emergency’s Only |
| --- | --- |
| Key Words | Haemophillia |
| Specimen Collection | 2x 3ml Citrate (Green lid). Equivalent volume Citrate for paediatric (Green lid). Fill to mark. Due to the nature of this assay, this test cannot be added onto a routine coagulation test without prior discussion. |
| Turnaround Time | 4 hours |
| Test Indications | Investigation of prolonged APTT with a personal or family history of bleeding, or deemed a clinical emergency at time of request. Testing onsite is haematology consultant approved only. |
| Interferences | Lipaemia, haemolysis, anticoagulants. |
| Reference Range | 0.5 – 1.5 IU/dl Discuss with Consultant Haematologist if necessary. |
| Minimum retesting interval | N/A |

A guide to abnormal patient results which will be telephoned to the appropriate clinician is included at Appendix C

## Blood Transfusion

Blood transfusion is part of the Blood Sciences service. It provides a routine and emergency service to Hinchingbrooke Hospital.  Blood supplies are obtained from NHSBT via the Cambridge Blood Centre. Specialist blood and blood components may be obtained from the NHSBT Colindale Blood Centre or in rare cases from the NHSBT Bristol Centre.

Patients undergoing surgery at Hinchingbrooke Hospital should have transfusion samples sent and processed at Hinchingbrooke. Other laboratories result from outside of the Trust will not be accepted. Cross-site Pre-op assessment arrangements are in place and must be followed – please refer to the Pre-op Assessment teams at either PCH or HH for details

A Joint Hospital Transfusion Committee (HTC) chaired by a Consultant Anaesthetist, with cross-site representation to ensure continuity on both sites where possible.  Regular training updates are provided by the Transfusion Practitioner Team to all hospital staff involved in the transfusion process.

It is essential that request forms for blood transfusion have all the required details completed and that the accompanying sample is clearly labelled by hand and signed and dated by person taking blood.

IMPORTANT Addressograph or similar labelling is unacceptable. Transfusion specimens received labelled with an addressograph will be rejected.

The following information is required:

| The sample and request form acceptance criteria for Blood Transfusion |  |
| --- | --- |
| Request form | Patient sample |
| Surname | Surname |
| Forename(s) | Forename (s) |
| Date of Birth | Date of birth |
| Hospital number | Hospital number |
| NHS Number (for community) | NHS Number(for community) |
| Ward/ Location/ Consultant | Ward/ location |
| Gender | Gender |
| Date/ Time/ Requester Signature | Date/ Time/ Sampler Signature |
| Requirements |  |
| Clinical Details including Hb if known |  |
| Special requirements |  |
| Blood group and antibodies if known |  |

If the request form and sample do not meet the criteria stated in the table above, the sample will not be accepted, and the clinician will be informed as described in section 7.3. All patient identifiers must match identically. Any discrepancies between the form, sample and/or PAS record will result in the sample being rejected. Blood Transfusion has a Zero tolerance policy.

These measures are designed to protect the patient from dangerous consequences of lapses in established procedures.

The diagram 7.7  is adapted from the HH Blood Transfusion Procedure.

Transfusion Related Referrals

Occasionally, following routine red cell grouping and antibody screening, extra samples are required to send to the NHSBT reference laboratories, in order to:

- Confirm and/ or identify red cell antibodies

- Confirm ABO/ Rh blood groups

- Provide red cell units where patients have complex antibody/ cross matching issues.

- Monitor maternal red cell antibodies during pregnancy

If this is the case the laboratory will contact the clinical area to explain the situation and request the extra samples required.

Patients with known complex red cell antibodies must always have 3 x EDTA samples sent on every occasion.

Monitoring of maternal red cell antibodies will be required at various intervals throughout a pregnancy. Information will be provided within transfusion reports and will follow National guidelines.

Blood and Blood Component/ Product requests – General information

Provision of all blood and blood components requires there to be a current Group and Screen sample available in the laboratory. Samples are stored in the laboratory following analysis and are valid for up to 7 days depending upon recent transfusion or pregnancy.

The national “two group” policy is in place and group related blood components will only be issued when two ABO/ Rh groups are available on the patient. This could be either a current or a historical group or two current groups obtained from samples taken in accordance with HH Blood Transfusion Procedure, see diagram 7.7 above.

Check with the laboratory if you are unsure how many samples are required.

Emergency Blood and Blood Components will be provided, if required, whilst waiting for samples to be obtained or processed.

Requests must be made in accordance with NWANGLIAFT policies, British Committee for Standards in Haematology (BCSH) guidelines and National Institute for Health and Care Excellence (NICE) guidance.

Laboratory staff will ask questions to ensure that the appropriate information for safe provision of blood is obtained and recorded. Only staff with the required level of knowledge and clinical information must phone the laboratory with requests. An authorising clinician must be named and this information will be recorded.

The caller may be referred to the Consultant Haematologist, Haematology Specialist Registrar and/ or the Transfusion Practitioner.

Red Blood Cells

Red blood cell requests will be accepted either on an electronic ICE request form or by telephone only in the event of a Major Haemorrhage. Full clinical details, reason for transfusion and any special requirements must be given.

Blood requests for paediatric/neonatal transfusions may require maternal information to be provided and/or information on previous transfusions given at other hospitals. This is to ensure the safe provision of appropriate blood and delays may occur if information is not available.

Fresh Frozen Plasma, Cryoprecipitate and Platelets

These blood components can only be either on an electronic ICE request form or by telephone only in the event of a Major Haemorrhage. Relevant clinical details, such as recent clotting or platelet count results, will be required. The patient’s weight (Kg) may be required to enable the laboratory staff to help calculate the correct volume needed.

Blood Products – Anti-D, Human Albumin Solution (HAS), Octaplex and Novo 7

All blood product requests must be made on an electronic ICE request form unless an alternative departmental arrangement has been made.

Relevant clinical information must be provided to assist the laboratory staff in supplying the correct volume of product required.

### Procedure for blood collection

Collection of blood and blood products must only be carried out by staff that have undergone training and have been evidenced as competent by the Transfusion Practitioner.

- When collecting blood from the blood bank, blood group, donor number and date of expiry of blood pack must be checked against the details on the compatibility forms.

- Patient details on the forms and compatibility labels must also be cross-referenced with the patient blood product prescription chart, which must accompany the collector.

- Any discrepancy must be queried immediately with the BMS in Blood Transfusion.

- The Laboratory Copy of the transfusion compatibility form must be signed, and the date and time of removal documented after checking and replaced in the file by the blood bank when blood is collected.  This must remain in the file as there is no ward copy of the compatibility form.

- Prior to transfusion, blood packs must be checked by two people against the Blood transfusion prescription chart and the patient’s identity wristband for:

Patient surname and forename,

Patient hospital number

Patient date of birth

Blood group

Expiry date

- Once the transfusion has been commenced the traceability tag on the blood pack compatibility label must be completed and returned to the Transfusion Laboratory.

In the event of a suspected blood transfusion reaction:

Please inform the Blood Transfusion laboratory as soon as possible.

All Blood transfusion reactions must be reported using the Transfusion Related Adverse Events Form, this form, TRA-EXT-053 (previously as C0160), is an associated document of the Blood Transfusion Policy. You will be referred to the Haematology Consultant/SpR on call or Transfusion practitioner for further advice if required.

Depending upon the nature of the suspected reaction the following may be requested:

1	Bags and giving sets of all transfused blood prior to and during the transfusion reaction

2	2 x EDTA blood samples (4.9ml blue top and 2.7ml red top), 1 brown top serum gel (Biochemistry) and a green to citrate sample (Coagulation).

3	Blood cultures

4	First specimen of patient’s urine

Anti-D immunoglobulin injections

Anti-D immunoglobulin for prevention of haemolytic disease of the newborn (HDN) is available for all Rh D negative mothers, whose serum is free from immune anti-D in the following categories:

1	Delivery - normal and caesarean section

2	External cephalic version

3	Amniocentesis

4	Ectopic pregnancy

5	Abortion, spontaneous complete, >10 weeks in accordance with BSCH guidelines.

6	Abortion, spontaneous followed by instrumentation to evacuate the product of conception - regardless of gestation

7	Therapeutic terminations of pregnancy – In accordance with NICE guidance for Abortion Care (NG140) ->10 weeks’ gestation, surgical or medical. Consider for surgical abortion only <10 weeks gestation.

8	Peritoneal/ vaginal bleeding,

9	Trauma - significant abdominal trauma during pregnancy e.g. seatbelt injury

10	Antepartum haemorrhage, usually significant bleeding

11	Intrauterine death

Issue of anti-D immunoglobulin

Anti-D immunoglobulin is issued by the Blood Transfusion laboratory.

The nurse collecting the injection must sign the laboratory copy. The traceability tag must be completed and returned to the transfusion laboratory once the anti-D has been administered.

Anti-D immunoglobulin is also available to patients in the community.  The community midwife must contact the Transfusion laboratory (on-call Haematology BMS at weekends) to arrange collection.

| ##### Dose of anti-D Immunoglobulin Anti-D immunoglobulin is required for all RhD Negative mothers whose serum is free of immune anti-D who deliver a RhD Positive baby. For all events, anti-D immunoglobulin is given to minimise the risk of immunisation. Anti-D must be given within 72 hours of the event. |  |
| --- | --- |
| ##### Gestation: <20 weeks gestation 20 weeks | Dose: 250 iu* 500 iu |
| ##### *a standard dose of 500iu units will be issued to cover this. ##### For large feto-maternal bleeds additional doses of anti-D may be required and a repeat Kleihauer sample will be requested 48 hours after injection to ensure foetal cells have been cleared from the maternal circulation. |  |

Specimen requirements

| #### Blood Transfusion | Specimen Type | Description |
| --- | --- | --- |
| Blood group and Crossmatch (Clinical details to be provided on request form) | 4.9mL whole blood in EDTA | Blue top |
| Neonatal Blood group and DAT (<4 months old) Crossmatch | 1.3 mL whole blood in EDTA | Small red top |
|  | 4.9mL whole blood EDTA (from mother) | Blue top |
| Paediatric Blood Group/Cross Match | 2 mL whole blood EDTA | Small red top |
| Direct anti-globulin (DAT) (This must be a separate sample to any FBC request) | 4.9mL EDTA or 2.7 mL EDTA | Blue top or red top |
| Cold agglutinins (Keep at 37 C, transport to laboratory immediately) | 4.9mL whole blood in EDTA x3 | 2 x Blue top |
| Ante-natal blood group and serology | 4.9mL EDTA | Blue top |
| Red cells antibody investigation | 4.9mL EDTA x3 | Blue top |
| Platelet Antibodies | 10 mL clotted + 20 mL EDTA | White top + 5 x red top |
| Kleihauer (estimation of FMH) Must be carried out on all Rh(D) Negative women of over 20 weeks gestation in the above 11 categories and at delivery. If a Full Blood Count is also required separate samples are required for both tests. |  |  |
| <20 weeks gestation (group and screen and anti-D issue) | 4.9mL ml whole blood in EDTA | Blue top |
| >20 weeks gestation (group and screen, Kleihauer and anti-D issue) | 4.9 ml EDTA & 2.7 ml whole blood in EDTA | Blue top and red top |
| Term Delivery (group and screen, neonatal group +/- Kleihauer and anti-D issue) | 2 x 4.9 ml whole blood in EDTA 2 x 2.7 ml whole blood in EDTA | 1 x Maternal blue top and red top 1 x cord blue top and red top |

## Out-of-Hour Service

Outside the core hours of 09:00 – 17:00, the laboratory runs a shift system, so all test results continue to be returned within contracted time scales. Outside of core hours, if referring an urgent sample, please contact the Biochemistry (Bleep1239) or Haematology (Bleep1257) Biomedical Scientist.

## Common Patient Enquiries

Anticoagulant Control

The anticoagulant monitoring service is provided by the Trust Anticoagulant nurse team.  Please contact this team on ext. 6531 or bleep 2202.

Clinical Hematology

Clinical Haematology services are provided by the Trust via the Woodlands Centre.  Please contact this team on ext. 3694 / 8097.

## Cellular pathology

A comprehensive, quality service for Surgical and Post Mortem Histology and Diagnostic non-gynae Cytology is offered for both NWANGLIAFT sites by the departments at PCH. Gynaecological Cytology is received into the department, packaged and sent to Norfolk and Norwich NHS Foundation Trust.

The Cytology department is available for Sputum, Serous Effusions, Urine, Fine needle aspirates, Bronchial Washings and Brushings.

A fully computerised information system ensures the speedy production of reports and the accurate storage and retrieval of records.

Interpretative reports and clinical advice are the responsibility of the Pathologists, Clinical Scientists and competent Biomedical Scientists. Staff are always available to discuss results with clinical colleagues. Advice on individual clinical cases or in terms of obtaining professional judgement on specific results can be obtained by contacting the laboratory results enquiry line (01733 678468).

Clinical staff are available to assist users to obtain the most effective utilisation of the laboratory service. Laboratory staff are able to offer advice to assist with the correction of specific problems that may be experienced by users, such as instances of sample rejection due to a failure to meet laboratory acceptance criteria.

Patient consent of personable identifiable data is given at point of sample collection. When referral is needed, the patients’ informed consent applies to the disclosure of relevant information to appropriate healthcare professionals.

The laboratory is open from 8:30am to 5:00pm from Monday to Friday.  Emergency cover outside these hours may be available but specific requests must be discussed with a consultant pathologist

Seminal Fluid Analysis

Seminal fluid analysis is not available from Hinchingbrooke Hospital.

This service is now provided by Cambridge IVF, part of Cambridge University Hospitals NHS Foundation Trust, operating from Ipswich Hospital and their clinic in Cambridge.

All patients requiring a semen analysis must call Cambridge IVF on 01223 349010 to book an appointment at either Ipswich or Cambridge, or email cambridgeivf@addenbrookes.nhs.uk with their preferred appointment date, location and time.  Patients will be required to produce a sample on site unless the patient requests otherwise and can get the sample to the lab for analysis within 45 minutes of production.

## Mortuary and Bereavement Services

Mortuary services provided at Hinchingbrooke Hospital are managed by the Pathology service.  For all enquiries, please contact the Mortuary on extension 7433. Normal working hours are Monday – Friday 08:00 – 16:00 (closed Saturday and Sunday).

Viewing of Deceased by Relatives

Appointments can be made by contacting the Bereavement office during working hours and is subject to Coronial consent (where applicable) and appointment availability.   Viewings are restricted to deceased patient’s Next of Kin only whilst they are under the care of the NWANGLIAFT.

Outside of these hours there is an on-call technician who is available for guidance and advice, in the first instance please go through the Site Manager.  Technical attendance out of hours is at the discretion of the on-call technician.

Out of hour’s release

Whilst every effort to facilitate religious requirements for swift release from the trust, legal and trust procedures MUST be followed to ensure compliance with all legal national and local guidelines.  The decision to release is at the discretion of the on-call Mortuary technician to ensure safe practice is adhered to.  There are a variety of legal requirements when issuing paperwork in regard to a patient dying, it is important not to assume or promise something that may not be possible as this can lead to unnecessary distress and upset.

Post-Mortems

It is the duty of the attending clinician to promptly issue a death certificate where a cause of death can be given. If the cause of death cannot be given or there is some other indication, the death must be reported to H. M. Coroner via his officers, Tel 0345 0451364, email coroners@cambridgeshire.gov.uk

Referral form is available via the patient’s medical records on e-Track.

Guidance on referring deaths to the Coroner

A death should be referred to HM Coroner if either:

• The death of a child

• Deaths of unidentified persons

• Deaths of people not under obvious care

• Deaths which occur within 24 hours of onset of illness or where no firm clinical diagnosis has been made

• Deaths following post-operative or post invasive procedures, if directly or indirectly contributing to the cause of death

• Deaths which follow an untoward incident, fall or drug error

• A cause of death is unknown

• It cannot readily be certified as being due to natural causes

• The deceased was not attended by the doctor during his last illness or was not seen within the last 14 days or viewed after death

• There are any suspicious circumstances or history of violence

• The death may be linked to an accident (whenever it occurred)

• There is any question of self-neglect or neglect by others

• The death has occurred or the illness arisen during or shortly after detention in police or prison custody (including voluntary attendance at a police station)

• The deceased was detained under the Mental Health Act

• The death is linked with an abortion

• The death might have been contributed to by the actions of the deceased himself (such as a history of drug or solvent abuse, self-injury or overdose)

• The death could be due to industrial disease or related in any way to the deceased’s employment

• The death occurred during an operation or before full recovery from the effects of an anaesthetic or was in any way related to the anaesthetic (in any event a death within 24 hours should be normally referred)

• The death may be related to a medical procedure or treatment whether invasive or not

• The death may be due to lack of medical care

• There are any other unusual or disturbing features to the case

• The death occurs within 24 hours of admission to hospital (unless the admission was purely for terminal care)

• It may be wise to report any death where there is an allegation of medical mismanagement

This note is for guidance only; it is not exhaustive and in part may represent desired local practice rather than statutory requirements.  If in any doubt contact the coroner’s office for further advice.

Coroner’s post-mortems are transferred to the hospital of the coroner’s choice.

Hospital Post Mortems (i.e. non-coronial PMs)

Permission for a hospital post-mortem must be obtained from the relatives of the deceased.  A doctor from the team dealing with the deceased must contact the Mortuary & Bereavement team to request a hospital post mortem.  Post mortems are not performed on the Hinchingbrooke site and arrangements would be made to transfer the deceased to the chosen site.

In order to comply with the Human Tissue Act (2004) and the Human Tissue Authority (HTA) Codes of Practice fully informed consent must be obtained prior to the examination commencing and the person obtaining the consent must be suitably trained and knowledgeable in the procedures involved.

The Bereavement Office will make a suitable appointment for the family go through the consent process with an appropriately trained member of staff.  Only trained personnel who have undertaken the HTA training programme may obtain consent from the Family.  The training for the taking of Post mortem examination consent differs from standard consent training to ensure compliance with HTA guidelines.

## Microbiology Service

Microbiology services are provided by the NWAngliaFT laboratory based at Peterborough City Hospital (PCH).

Enquiries

For general enquires telephone 01733 678437 or 01733 678424

Laboratory opening times:

Monday-Friday:                        08:45 to 20:00

Saturdays:                                08:15 to 17:00

Sundays and Bank Holidays:    08:45 to 17:00

An emergency service operates at all other times. The On Call Biomedical Scientist should be contacted through the hospital switchboard (678000).

Medical Advice:  This is available at all times.

Contact the laboratory between the hours of 08:30 and 17:00 Monday - Friday.

Outside of these hours, please contact the Medical Microbiologist on-call via the hospital switchboard (678000).

The services that the department currently provide in-house include:

Bacteriology:  Microscopy and culture a range of samples, including swabs, sterile fluids, urines, faeces, and tissue samples. Sensitivity testing on significant isolates.

Mycobacterial culture and microscopy.

Helicobacter pylori faecal antigen detection.

Serology:       A wide range of tests including Antenatal Screening; Blood-borne Virus testing; EBV;    CMV; Hepatitis A; Rubella, VZV, and HBV immunity tests; Measles; Syphilis; anti-streptolysin O testing.

Virology:   RSV detection; Immunofluorescence for influenza A and B, Adenovirus, Parainfluenza, RSV; Rotavirus and Adenovirus in stool samples.

Molecular:    MRSA; Flu A and B; SARS 2 (Covid); Mycobacterium tuberculosis (including rifampicin resistance); Chlamydia trachomatis and Neisseria gonorrhoea; Norovirus; Herpes 1 and 2 viruses.

Fungal/Parasite:      Microscopy for faecal and urinary parasites.

Entomological samples.

Microscopy and culture for fungal pathogens.

As a department we continually strive to improve the ranges of tests and services that we supply to our customers/users. The above list is a guide to the types of tests that we provide. If the test you wish is not on the list, please contact the laboratory to check availability and discuss with our diagnostic team.

Other tests are sent away to specialist, or reference, centres for testing. For a list of these laboratories please click on the link at the bottom of the page.

Further details on the laboratories to which tests are referred can be obtained from the Department.

General information

1.      Safety considerations

Follow universal precaution guidelines by treating all specimens as potentially hazardous. Avoid contamination of the external surfaces of specimen containers and of the accompanying request forms.

2.     General guidelines for specimen collection

•If possible, specimen should be collected prior to administering antibiotics.

•Avoid contamination with resident physiologic flora.

•Use an aseptic technique to avoid introduction of microbes during invasive procedures.

•Collect an adequate amount of specimen as inadequate amounts may yield false- negative results

•Identify the specimen source and /or specific site correctly so that proper culture media will be selected during processing in the laboratory.

•Collect specimens in sterile containers with tightly fitted lids (i.e. screw cap)

•All samples must be labelled with a minimum of three patient identifiers (Forename, Surname, DOB, Address)  and NHS number wherever possible.

3.     Transport all specimens to the laboratory promptly.

Alternatives to prompt delivery:

Refrigerate most specimens at 2 - 8oC but please be aware of the following exceptions:

a.) If blood is cultured in broth ( BacT/ALERT bottles), incubate at room temperature (15-25oC). On public holidays and out of hours this can be achieved by sending the blood culture bottles by air tube to the Haematology Department. Otherwise, the blood cultures should be left at room temperature.

b.)Stool specimens for amoebic dysentery:  stool should be sent to the laboratory immediately after being passed (“hot stool”).

4.    All samples submitted to the laboratory for examination must be accompanied by a request   form signed by a Healthcare Professional and containing:

- patient identifying data – Forename, Surname, DOB, Address

- Specimen type and site if applicable

- date and time of collection

- relevant clinical details – Antibiotic therapy, etc. where appropriate

- examination required

- GP name and address OR Consultant name and ward/location

- The patient's NHS number should be included whenever possible

All samples are normally retained within the laboratory until 48 hours after an authorised report has been issued.

# Recommended Samples

# Samples from the Urinary Tract

| Investigation | Specimen | Container |
| --- | --- | --- |
| Bacterial M,C &S | MSU, CSU | Urine Monovette |
| Mycobacterial culture | Complete EMU x 3 | 500ml Sterile Container |
| Prostatitis diagnosis | Void Bladder 1,2 & 3 +/- EPS | Sterile Universal |
| Schistosome microscopy | Terminal urine specimen | Sterile Universal |
| Viral culture | MSU | Sterile Universal |

Samples from the Lower Respiratory Tract

| Investigation | Specimen | Container |
| --- | --- | --- |
| Bacterial M,C &S | Sputum or BAL | Sterile Universal |
| Antigen detection or culture for Legionella sp | Sputum | Sterile Universal |
| Mycobacterial culture | Sputum x 3 | Sterile Universal |
| Serology for respiratory pathogens | Serum samples x 2 collected at presentation and 10-14 days subsequently | Serum Gel Monovette (brown top) |

Samples from the Upper Respiratory Tract

| Investigation | Specimen | Container |
| --- | --- | --- |
| Bacterial C&S | Throat Swab | Swab in Bacterial Transport Medium (BTM) |
| Viral PCR Testing | Throat swab, Nose and Throat (Covid) | Swab in Virus Transport Medium (VTM) |
| Bacterial M,C&S | Epiglottis swab ONLY if airway secure | Swab in BTM |
| Bacterial/Fungal culture | Mouth swab | Swab in BTM |
| Bacterial C&S | Nose swab | Swab in BTM |
| Bacterial/ Fungal culture | Ear Swab | Swab in BTM |

### Ophthalmological Samples

| Investigation | Specimen | Container |
| --- | --- | --- |
| M,C&S (Adult patient) | Conjunctival swab | Swab in Bacterial Transport Medium (BTM) |
| M,C&S (Neonate) | Conjunctival swab | Swab in BTM |
| Virus detection | Conjunctival swab | Swab in Virus Transport Medium (VTM) |
| Chlamydia investigation | Conjunctival scrapings | Swab in Abbott Multicollect Kit for Chlamydia |
| M,C&S | Chamber fluids and lenses | Sterile Universal |
| Culture for Acanthamoeba | Corneal scrapings, contact lenses/fluid | Sterile Universal in sterile saline |

Samples from the Gastro-Intestinal Tract

| Investigation | Specimen | Container |
| --- | --- | --- |
| Culture for Salmonellae, Shigellae, Campylobacter sp. and E.coli O157 | Faeces | Faeces Pot |
| Microscopy for Ova, Cysts and Parasites, including 'Hot' Stool | Faeces | Faeces Pot |
| Clostridium difficile toxin | Faeces | Faeces Pot |
| Virus detection | Faeces | Faeces Pot |
| Threadworm demonstration | 'Sellotape' applied to peri-anal skin | 'Sellotape' applied to slide |

Samples from the Genital Tract

| Investigation | Specimen | Container |
| --- | --- | --- |
| Investigation of vaginal discharge | HVS | Swab in Bacterial Transport Medium (BTM) |
| Investigation of Pelvic Inflammatory Disease (including Chlamydia) | ECS x 2 | Swab in BTM and Abbott Multicollect Kit for chlamydia |
| Chlamydia/Neisseria gonorrhoeae | Cervical swab Or Urethral swab Or Urine Or Self-taken vaginal swab | Abbott Multicollect Kit for chlamydia |
| Herpes simplex PCR | ECS / lesion swab | Swab in Virus Transport Medium (VTM) |

Pus, tissue or fluid and cutaneous infections

| Investigation | Specimen | Container |
| --- | --- | --- |
| Bacterial M,C&S | Wound / ulcer swab | Swab in Bacterial Transport Medium (BTM) |
| M,C&S | Tissue, fluid or pus | Dry, sterile container |
| Screening for Group B streptococci | Nose, ear and umbilical swabs | Pre-moistened swab in BTM |
| Viral infections | Vesicular fluid | Swab in Virus Transport Medium (VTM) |
| Fungal infections | Hair, nail or skin clippings | DermaPak or Dry Sterile Universal container |
| Screening for MRSA | Nose, throat, axillae and perineum swabs, plus wounds, lesions or CSU | Pre-moistened swab in BTM |

Blood

| Investigation | Specimen | Container |
| --- | --- | --- |
| Gentamicin Assay | Pre and 1 hour post dose blood samples | Serum Gel Monovette (brown top) |
| Rubella serology | Blood | Serum Gel Monovette |
| HIV | Blood - please note protocols for high-risk specimens | Serum Gel Monovette |
| Hepatitis A serology | Blood | Serum Gel Monovette |
| Hepatitis B surface antigen | Blood - please note protocols for high-risk specimens | Serum Gel Monovette |
| Hepatitis C serology | Blood - please note protocols for high-risk specimens | Serum Gel Monovette |
| Other Serology testing | Blood - please note protocols for high-risk specimens | Serum Gel Monovette |
| PCR Testing | Blood(Plasma)- please note protocols for high-risk specimens | EDTA sample |

Turnaround Times

| Test | TAT (90%) |
| --- | --- |
| Bacteriology |  |
| Acanthoamoeba | 10-12 days |
| Blood culture* | 2-6 days |
| Clostridium difficile testing | 18 hours |
| CSF culture* | ≤ 5 days |
| Enteric routine | 2-4 days |
| Enteric single organism screen | 2-4 days |
| Environmental monitoring | 2-8 days |
| Fluid (normally sterile site) culture* | ≤ 7 days |
| Genital swabs | 1-3 days |
| Lower respiratory | 2-4 days |
| Lower respiratory - CF Patients* | ≤ 7 days |
| Microscopy (Urgent) | Same Day |
| MRSA Screening | 1-2 days |
| Mycobacteria Culture | 42-84 days |
| Mycology | 7-21 days |
| Other bacterial investigation | 2-4 days |
| Parasitology | 1-2 days |
| Specific organism screen | 2-4 days |
| STD screen | 2-3 days |
| Tissue Samples culture* | 7-10 days |
| Upper respiratory swabs | 1-3 days |
| Urine | 1-2 days |
| Wound swabs (routine) Wound swabs (extended culture)* | 2-4 days ≤ 7 days |
| Molecular |  |
| Chlamydia | ≤ 72 hours |
| Influenza PCR | 1-2 |
| Norovirus PCR (outbreak only) | ≤ 3 days |
| SARS2 (Covid) PCR | <1 day |
| Serology |  |
| Cytomegalovirus - CMV IgM | ≤ 5 days |
| Epstein-Barr virus serology | ≤ 5 days |
| Hepatitis A IgM | ≤ 5 days |
| Hepatitis B - Anti-HBc | ≤ 5 days |
| Hepatitis B - Anti-HBc IgM | ≤ 5 days |
| Hepatitis B - Anti-HBe / HBe antigen | ≤ 5 days |
| Hepatitis B - Anti-HBs | ≤ 5 days |
| Hepatitis B surface Antigen | ≤ 5 days |
| Hepatitis C antibody | ≤ 5 days |
| Hepatitis D (delta) antibody [Referred to Cambridge HPA] | ≤ 5 days |
| Herpes simplex virus IgG [Referred to Cambridge HPA] | ≤ 7 days |
| HIV 1+2 antibody | ≤ 5 days |
| Measles IgG \ IgM [ IgM Referred to Cambridge HPA] | 5-8 days |
| Mumps IgG \ IgM [Referred to Cambridge HPA] | 5-8 days |
| Parvovirus B19 IgG \ IgM (EIA) [Referred to Cambridge HPA] | 10-14 days |
| Rubella Ig | ≤ 5 days |
| Streptococcal serology | 7-10 days |
| Toxoplasma IgG | ≤ 5 days |
| Treponema pallidum serology | ≤ 5 days |
| Varicella zoster virus - VZV IgG (Urgent) | <1 day |
| Virus Respiratory Screen [Referred to Norwich Laboratory] | 10-14 days |
| Antenatal Screening | 3-5 days |

*Interim reports issues at 48-72 hours

## Inter Site Transport Schedule

Morning Collection

- 08:00 –Global Services Group (GSG) to PCH(@G1)

- 08:15 / 08:30 – GSG to CUH and any samples for CUH- Haemato-oncology service (HODS), GP Bloods, urgent referral work i.e. Lipase

- 12:30/12:40 – GSG GP Samples to CUH

Afternoon Collections

- 12:30/13:00 –GSG to PCH(@G2)

- 14:30 – GSG to CUH. HODS, GP Bloods, urgent referral works i.e. .Lipase

- 17:00 – GSG to PCH (@G3)

- 17:30 – GSG to CUH. HODS, GP Bloods, urgent referral works i.e. Lipase

- 22:00 – GSG to PCH (@G7)

Weekend Collections

08:00 –GSG to PCH(@G4)

12:00 – GSG to PCH (@G5)

16:00 – GSG to PCH (@G6)

22:00 – GSG to PCH (@G7)

G1 to G7 refer to the in-house transport codes programmed into LIMS which will be seen as the transfer time on the final report in the clinical viewer.

## Telephone Directory

| Hospital switchboard | 01480 416416 |
| --- | --- |
| Pathology direct line | 01480 416151 |
| Fax | 01480 416527 |
| Pathology Reception at HH | x6151 |
| Biochemistry (Technical enquiries) | x3024 / x6267 |
| Haematology (Technical enquiries) | x3545 |
| Transfusion | x6157 |

# Escalation In Case of Failure (If Applicable)

Feedback/ Complaints

If users would like to feedback comments to the laboratory, please contact the Blood Sciences / Transfusion Manager or Pathology Quality Manager (details provided in section 7.1 Laboratory Personnel).  Alternatively raise a Datix to Pathology clearly describing details of complaint.

# Monitoring Compliance and Effectiveness

The User Guide is on biennial review controlled by quality management software. The Quality lead for Pathology at Hinchingbrooke is responsible to ensure this is monitored.

# Equality And Diversity Statement

This document complies with the North West Anglia NHS Foundation Trust service equality and diversity statement.

# REFERENCES

http://www.advancedpractice.scot.nhs.uk/legal-and-ethics-guidance/consent/defining-consent.aspx

http://www.nhs.uk/conditions/consent-to-treatment/pages/introduction.aspx

# Appendix (See Below)

# Appendix B

RESULTS OUTSIDE THESE LIMITS SHOULD BE GIVEN TO MEDICAL STAFF UNLESS THE ABNORMALITY IS ALREADY KNOWN.

Ideally the clinician responsible for the care of the patient should be contacted, However, if not available the results should be phoned to ward, asking that they are passed on to the appropriate clinician. If there is any doubt, please refer to senior member of the Pathology staff. This list covers routine investigations in adults unless otherwise stated.

| # Assay | ### Low: < or = | High: > or = | ##### Units |
| --- | --- | --- | --- |
| Haemoglobin | 50 micro or macrocytic. 70 normocytic /normochromic (unless patient has had a previously low Hb) | 190 (unless patient has had a previously high Hb) | g/L |
| Haematocrit (HCT) |  | 0.55 | Ratio |
| Neutrophils | <0.5 (unless any other more sinister morphology) | 50.0 | x 109/L |
| Lymphocytes |  | >50 | x 109/L |
| Platelets | 30 (unless the patient has had a previously low count) | 600 | x 109/L |
| Film | Blasts present or diagnosis of CML |  |  |
| Malarial Parasites | Positive |  |  |
| PT | - | 25 20 (if paracetamol overdose) | seconds |
| APTT | - | 50 | seconds |
| Fibrinogen | 1.5 | - |  |
| D Dimers | Only if evidence of DIC |  |  |
| INR | - | 5.0 | Ratio |
| Sodium | 120 | 160 | mmol/L |
| Sodium if <16 years | 130 | 160 | mmol/L |
| Potassium | 2.5 | 6.5 | mmol/L |
| Urea | - | 30.0 | mmol/L |
| Urea if <16 years | - | 10 | mmol/L |
| Creatinine | - | 354 | mol/L |
| Creatinine if <16 years | - | 200 | mol/L |
| Glucose | 2.5 | 25.0 | mmol/L |
| Glucose if <16 years | - | 15 | mmol/L |
| Adjusted Calcium | 1.8 | 3.5 | mmol/l |
| Phosphate | 0.3 | - | g/L |
| Magnesium | 0.4 | 2.0 | mmol/L |
| Amylase | - | 500 | U/L |
| Bilirubin | All neonate on Day 1, otherwise | 300 |  |
| Conjugated Bilirubin | - | 25 | µmol/L |
| Albumin | 20 | - | g/L |
| #### ALT | - | Female 495 Male 615 | U/L |
| CK (creatine kinase) | - | 5000 | iU/L |
| Salicylate | - | 300 | mg/L |
| Paracetamol | - | 100 | mg/L |
| Uric Acid | - | 340 (antenatal) | µmol/L |
| Fe | - | 55 | µmol/L |
| #### Digoxin | - | 2.5 at not less than 6 hours post dose | µg/L |
| #### Theophylline | - | 25 | mg/L |
| #### CRP | - | 300 | mg/L |
| #### AKI | - | Stage 1 if K>6.0 and all stage 2 and 3 |  |
| #### Ammonia | - | 100 | µmol/L |
| #### Ethanol |  | 400 (10 if <18 yrs) | mg/dL |
| #### Gentamicin | - | 1.5 | mg/L |
| #### Vancomycin | 10 | 20 | mg/L |
| #### TSH | - | 50 | mU/L |
| #### FT4 | - | 50 | pmol/L |
| #### FT3 | - | 20 | pmol/L |
| #### B12 | 125 | - | ng/L |
| Referred work | Any results telephoned by referral laboratory. |  |  |

# Appendix C

## Referral Laboratories used by Blood Sciences

| Test name | Sample required | Where analysed |
| --- | --- | --- |
| 1, 25-dihydroxy Vitamin D | Serum | Manchester Royal Infirmary |
| 11-deoxycortisol | Serum | St Thomas' |
| 17-OH progesterone | Serum | CUHFT |
| 24hr adrenaline | Urine | CUHFT |
| 24hr dopamine | Urine | CUHFT |
| 24hr Urine metanephrines | Urine | PCH |
| 5HIAA (urine) | Urine | PCH |
| 7-dehydrocholesterol | LiHep or EDTA plasma | Sheffield Children's Hospital |
| ACTH | EDTA plasma Frozen | CUHFT |
| ACRA | Serum | PCH |
| Acyl carnitine profile | Serum or LiHep plasma | CUHFT |
| Adrenaline | EDTA plasma | CUHFT |
| ADAMTS 13 | x2 citrate | CUHFT |
| Adalimumab | Serum | City Hospital Birmingham (via PCH) |
| Aldosterone/renin | EDTA plasma | CUHFT |
| Alpha-galactosidase | LiHep whole blood | Guy's London |
| Alkaline phosphatase isoenzymes bone | Serum | CUHFT |
| Alpha 1-antitrypsin | Serum | PCH |
| Alpha-1-antitrypsin genotype | Serum | CUHFT |
| Alpha 1-antitrypsin phenotype | Serum | CUHFT |
| Amino acids | LiHep plasma Frozen | CUHFT |
| Amiodarone | EDTA or LiHep plasma Frozen | Cardiff Toxicology Lab |
| Amitriptyline & nortriptyline | Serum | CUHFT |
| Amylase isoenzymes | Serum | King's College Hospital London |
| Amyloid A protein | Serum | PRU Sheffield |
| Androstenedione | Serum | CUHFT |
| Angiotension converting enzyme | Serum | PCH |
| Anti Mullerian hormone | Serum | Manchester University NHS Foundation Trust |
| Anti-voltage gated k/Ca channel abs | Serum | Churchill Hospital Oxford (Via PCH) |
| Apixaban | Citrate | PCH |
| Apolipoprotein a1 | EDTA plasma | Viapath Guy's & St Thomas' |
| Apolipoprotein b | EDTA plasma | Viapath Guy's & St Thomas' |
| Apolipoprotein e genotype | EDTA whole blood | CUHFT |
| Arsenic | EDTA whole blood | West Midlands Toxicology Lab |
| AST | Serum | PCH |
| aTPO | Serum | PCH |
| Benzodiazepine | LiHep whole blood | West Midlands Toxicology Lab |
| Beta 2 microglobulin | Serum | PCH |
| Bile acids | Serum | PCH |
| Biotinidase | LiHep plasma | CUHFT (BGU) |
| CA125 | Serum | PCH |
| Ca15-3 | Serum | PCH |
| Ca19-9 | Serum | PCH |
| Cadmium | EDTA whole blood | West Midlands Toxicology Lab |
| Caeruloplasmin | Serum | PCH |
| Caffeine | LiHep plasma | West Midlands Toxicology Lab |
| Calcitonin | Serum or LiHep plasma frozen | Imperial College |
| Carbamazepine | Serum | PCH |
| Carbohydrate deficient transferrin | Serum | King's College Hospital London |
| Carotenoids | EDTA or LiHep plasma frozen | City Hospital Birmingham |
| CEA | Serum | PCH |
| Cholinesterase (red cell) | LiHep whole blood | Cardiff Toxicology Lab |
| Cholinesterase (suxamethonium sensitivity) | Serum or LiHep plasma | St Thomas' London |
| Cholinesterase (?environmental exposure to pesticides) | EDTA whole blood | HSE Buxton |
| Chromium | Serum (avoid o-ring tube for aliquot) | West Midlands Toxicology Lab |
| Chromium (whole blood) (mom hip) | EDTA whole blood | West Midlands Toxicology Lab |
| Chromogranin a or b | EDTA plasma frozen | Charing Cross London |
| Citrate | Urine | UCLH |
| CK isoenzymes (macro CK) | Serum | Royal Free |
| Clobazam | Serum or LiHep plasma | St Thomas' |
| Clozapine | EDTA plasma | King's College Hospital London |
| Cobalt | Serum (avoid o-ring tube for aliquot) | West Midlands Toxicology Lab |
| Cobalt (whole blood) (mom hip) | EDTA whole blood | West Midlands Toxicology Lab |
| Copper | Serum (avoid o-ring tubes for aliquot) | West Midlands Toxicology Lab |
| Cortisol | Serum | PCH |
| Cortisol (saliva) | Salivette tube | Southampton |
| Cortisol (urine)/ urine free cortisol | Urine | CUHFT |
| Cotinine | Urine | Southampton |
| C-peptide | Serum | PCH |
| C-peptide/creat ratio (urine) | Urine in boric acid universal | City Hosp. Nottingham |
| CSF xanthochromia analysis See section 7.5 Biochemistry special requests | Plain universal, protected from light sent via Biochem Hinchingbrooke | PCH |
| Cyclosporin | EDTA whole blood sent on next available transport | PCH |
| Cystine | Urine | CUHFT |
| CTX / CTX-beta-crosslaps | EDTA plasma frozen | Norfolk & Norwich |
| Dabigatran | Citrate | PCH |
| Dehydroepiandrostenedione (DHEAS) | Serum | CUHFT |
| Desethylamiodarone | EDTA or LiHep plasma | Cardiff Toxicology Lab |
| Diazepam | LiHep plasma | St Thomas' |
| Dihydro testosterone | Serum | Charing Cross London |
| Dopamine | Serum | CUHFT |
| Edoxapan | Citrate | CUHFT |
| EMA | EDTA | CUHFT |
| Erythropoietin | Serum | King's College Hospital London |
| Ertapenem | Serum on ice | Southmead Bristol |
| Ethosuximide | LiHep plasma | West Midlands Toxicology Lab |
| Factor Assays | Citrate | PCH |
| Faecal total porphyrins | Faeces protected from light | Bedford |
| Faecal calprotectin | Faeces | PCH |
| Faecal elastase | Faeces | CUHFT |
| FK506 (tacrolimus) | EDTA whole blood sent on next available transport | PCH |
| Flecainide | Serum | St George's London |
| Folicle stimulating hormone (FSH) | Serum | PCH |
| Free fatty acids | Fluoride EDTA plasma (yellow top) | Sheffield Children's Hospital |
| Fructosamine | Serum | City Hospital Birmingham |
| G6PD | EDTA | PCH |
| Gabapentin | LiHep plasma | West Midlands Toxicology Lab |
| Gastrin | 2x EDTA plasma frozen | Charing Cross London |
| Growth hormone | Serum | PCH |
| Gut hormones / gastrin | 2x EDTA plasma frozen | Charing Cross London |
| Haemachromatosis gene studies | EDTA whole blood | CUHFT |
| Haemoglobinopathy | EDTA | PCH |
| Haemato-oncology molecular diagnostic tests | EDTA | CUHFT - Haemato-oncology diagnostic services (HODS) |
| Haptoglobin | Serum | CUHFT |
| Heparin Induced Thrombocytopenia | Citrate & Serum | CUHFT |
| Hip fluid cobalt | Plain universal | West Midlands Toxicology Lab |
| Hip fluid chromium | Plain universal | West Midlands Toxicology Lab |
| Homocystine (total) | LiHep plasma frozen | CUHFT |
| Beta (3)-hydroxybutyrate | Fluoride EDTA plasma (yellow top) | Sheffield Children's Hospital |
| IGF-1 | Serum | PCH |
| IGF-2 | Seum | Guilford |
| Immunoglobulins (IgG/ IgM/ IgA) | Serum | PCH |
| Immunophenotyping | EDTA | CUHFT |
| Infliximab profile | Serum | City Hospital Birmingham (via PCH) |
| Inhibin B | Serum | Charing Cross London |
| Insulin | LiHep plasma or serum - frozen | CUHFT |
| Insulin abs | Serum | PCH |
| Lamotrigine (lamicital) | LiHep plasma | West Midlands Toxicology Lab |
| LDH | Serum separated, not haemolysed | PCH |
| Lead | EDTA whole blood | Cardiff Trace Element Laboratory |
| Lead (occupational exposure) | EDTA whole blood | HSE Buxton |
| Levitiracetam | Serum | Epilepsy Society TDM unit , Chalfont St Peter |
| Lipoprotein a | EDTA plasma | Viapath Guy's & St Thomas' |
| Lithium | Serum (sent on next available transport) | PCH |
| Lupus | 3 Citrate & 1 Serum (in addition to the routine sample to be processed at HH) | PCH |
| Luteinising Hormone (LH) | Serum | PCH |
| Macro amylase | Serum | Southend University Hospital |
| Macro CK (isoenzymes) | Serum | Royal Free |
| Magnesium (red cell) | EDTA whole blood | Southampton General |
| Metadrenaline (metanephrines) | EDTA plasma frozen | CUHFT |
| Methotrexate | Serum | CUHFT |
| Molar hCG | Serum & urine | Charing Cross London |
| Mycophenolate / mycophenolic acid / mycophenolate mofetil | EDTA plasma | St George's London |
| N-terminal propeptide of type 111 collagen | LiHep plasma frozen | Southampton General |
| Oestradiol | Serum | PCH |
| Oligoclonal bands (csf) | CSF and serum | CUHFT |
| Organic acids (urine) | Urine Frozen | CUHFT |
| Oxalate | Acidified urine | UCLH |
| Phenobarbitone | Serum | PCH |
| Phenytoin | Serum | PCH |
| PIVKA II | Serum | St Thomas' London |
| Porphobilinogen screen (urgent)Urine protected from light (sent on next available transport)PCHPorphyrin studies | EDTA whole blood, urine and faeces all protected from light. Plasma separated from cells but both sent. | Bedford |
| Pre-albumin | Serum | PRU Sheffield |
| Progesterone | Serum | PCH |
| Prolactin | Serum | PCH |
| Primidone | Serum | CUHFT |
| PSA | Serum | PCH |
| PTH | Fluoride EDTA | PCH |
| Pyruvate Kinase | EDTA | Kings College Hospital |
| Renin | EDTA plasma | CUHFT |
| Retinol binding protein | Serum | PRU Sheffield |
| Rivoxaban | Citrate | PCH |
| Rohypnol | Serum | West Midlands Toxicology Lab |
| Selenium | Serum (avoid o-ring tubes for aliquot) | West Midlands Toxicology Lab |
| Serotonin | EDTA whole blood frozen | Leeds General Infirmary |
| SHBG (sex hormone binding globulin) | Serum | PCH |
| Sirolimus (Rapamycin) | EDTA whole blood sent on next available transport | CUHFT |
| Steroid profile | Urine | UCLH |
| Stone analysis | Stone in plain universal | UCLH |
| Sulphonylurea | Serum or urine | Royal Surrey County Hospital Guilford |
| Tacrolimus (FK506) | EDTA whole blood sent on next available transport | PCH |
| TAU protein | Csf/ nasal/ear secretion | Institute of Neurology, Queen's Square, London |
| Teicoplanin | Serum | Southmead Hospital Bristol |
| Testosterone | Serum | PCH |
| Thiopurine methyltransferase (TPMT) | EDTA whole blood not refrigerated | City Hospital Birmingham |
| Thioguanine Nucleotide (TGN) | EDTA whole blood not refrigerated | City Hospital Birmingham |
| Thrombophilia Screening Tests (PS, PC, AT, APCR, FVL) | x3 Citrate, x1 Serum & Buffy Coat from EDTA sample (in addition to citrate for routine testing at HH) | PCH |
| Thyroglobulin | Serum | Cardiff Medical Biochemistry |
| Thyroxin binding globulin | Serum | CUHFT |
| TSH releasing Ab(TRAB) / Thyroid Stimulating Immunoglobulin (TSI) | Serum | PCH |
| Topiramate | Serum | Cardiff Toxicology Laboratory |
| Transferrin isoforms / transferrin glycoforms | Serum | Institute Of Neurology, Queens Square, London |
| Tryptase | Serum | PCH |
| Urine cobalt | Urine | West Midlands Toxicology Lab |
| Urine copper | 24 hr urine collected in acid-washed bottle | West Midlands Toxicology Lab |
| Urine cortisol | 24hr urine | CUHFT |
| Urine cotinine | Urine | Southampton General |
| Urine metanephrines | 24hr urine collected into acid | PCH |
| Urine Microalbumin | Urine in urine monovette | PCH |
| Urine porphyrin | Urine protected from light | Bedford |
| Vigabatrin | LiHep plasma | West Midlands Toxicology Lab |
| Valproate | Serum | CUHFT |
| Very long chain fatty acids | EDTA plasma | CUHFT |
| Vitamin A | Serum or LiHep plasma | City Hospital Birmingham |
| Vitamin B1 (thiamine) | EDTA or LiHep whole blood | Viapath Nutristasis Unit |
| Vitamin B2 (riboflavin) | EDTA whole blood protected from light | Viapath Nutristasis Unit |
| Vitamin B6 | EDTA whole blood protected from light | Viapath Nutrisatasis Unit |
| Vitamin D | Serum | PCH |
| Vitamin E | Serum or LiHep plasma protected from light | City Hospital Birmingham |
| Vitamin K / vitamin K1 | Serum | St Thomas' London |
| Vitamin K1 epoxide | Serum | St Thomas' London |
| VMA (paediatric) | Urine in plain universal, acid added on receipt | CUHFT |
| Warfarin Assays | Citrate | Guys and St Thomas' London |
| White cell enzymes | 2xedta whole blood | Willink Unit, Manchester |
| Xanthochromia analysis See section 7.5 Biochemistry special requests | CSF in a plain universal, protected from light sent via biochem Hinchingbrooke | PCH |
| Zinc | Serum (avoid o-ring tubes for aliquot if sent to City Hospital Birmingham) | CUHFT or City Hospital Birmingham if small sample with Cu/ Sel request |
| Antibiotics |  |  |
| Tobramycin | Serum sent on next available transport | PCH |
| Amikacin | Serum sent on next available transport | CUHFT |

## Addresses of Referral Laboratories

| Department of Pathology (all disciplines) Cambridge University Hospitals NHSFT Cambridge, CB2 0QQ | Health and Safety Executive Buxton, Derbyshire |
| --- | --- |
| Department of Immunology Churchill Hospital Headington, Oxford OX3 7LJ | Charing Cross Hospital Fulham Rd, London W6 8RF |
| East Midlands Hospital Bordersley Green, Birmingham B9 5ST | SAS EPO Laboratory Kings College Hospital, Denmark Hill, London SE5 9RS |
| Great Ormond Street Hospital London WC1 | Hammersmith Hospital Du Cane Rd, London W12 0HS |
| Department of Biochemistry Kings College Hospital, Denmark Hill, London SE5 9RS | Leeds General Hospital Great George St, Leeds LS1 3EX |
| Meningococcal Reference Centre PHL, Withington Hospital, Manchester | National Hospital for Neurology and Neurosurgery, Queen Sq. London WC1N 3BG |
| Norfolk and Norwich University Hospital Colney La, Norwich NR4 7UY | Royal Victoria Infirmary Queen Victoria Road, Newcastle NE1 4LP |
| Department of Immunology University Hospital, Queens Medical Centre, Nottingham | Tenovus Laboratory Southampton University Hospital Southampton |
| Chemical Pathology, Bedford Hospital Kempston Road Bedford MK42 9DJ | Peterborough City Hospital, Edith Cavell Campus, Bretton Gate, Peterborough PE3 9GZ |
| Purine Research Laboratory, Floor 5 Thomas Guy House Guy’s Hospital, London SE1 9RT | Respiratory Virus Unit, ERVL Central, HPA 61 Colindale Road, London |
| St James’ University Hospital Beckett Street, Leeds LS9 7TF | Haemaglobinopathy Reference Centre John Radcliffe Hospital, Oxford OX3 9DU |
| West Midlands Toxicology Laboratory City Hospital, Dudley Road Birmingham, B18 7QH | Specialist Assay Lab, Clinical Sciences Building 3, Central Manchester University Hospitals NHS Foundation Trust, Manchester Royal Infirmary, Oxford Rd, Manchester, M12 9WL |
| University College Hospital 1122 Hampstead Road, London NW1 2LT | University Hospital Wales Heath Park Cardiff CF4 4XW |
| West Suffolk Hospital Hardwick La. Bury St Edmonds IP33 2QZ | London School of Hygiene and Tropical Medicine, Keppel Street, London WC1E 7HT |
| Royal Gwent Hospital Cardiff Road, Newport NP9 2UB | Selly Oak Hospital, Raddle Barn Road, Selly Oak Birmingham B29 6JD |
| Royal Hallamshire Hospital Glossop Road, Sheffield S5 7YT | Royal Postgraduate Medical School Duncane Road, London |
| St Bartholomew’s Hospital West Smithfield, London EC1A 7BE | Kent & Sussex Hospital Tunbridge Wells, Kent |
| The Rubens Institute, University of Surrey Guildford, Surry GU2 5XH | Kings College Hospital Denmark Hill, London SE5 9RS |
| Kings College School of Medicine and Dentistry Bessemer Road, London SE5 9PJ | Regional Genetic Service, Molecular Genetics Laboratory - Kefford House, Maris Lane, Trumpington CB2 2FF |
| Royal Free Hampstead NHS Trust Pond Street, London NW3 2Q |  |
| NHSBT Colindale Charcot Road Colindale, London , NW9 5BG | IBGRL Bristol NHSBT – North Bristol Park Northway, Filton Bristol, BS34 7QG |

Appendix D